{"text_format":"1","workbook":"xlsx","n_sheets":7,"sheets":["Section 1","Section 2","Section 3","Section 4","Section 5","Tables various (2b hide)","evidence tables (2b hide)"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":2,"defined_names":12,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Section 1","index":0,"n_rows":75,"n_cols":4,"rows_kept":75,"cut":false,"hidden":false,"merged":[[69,0,69,8],[70,0,70,2],[70,3,70,8],[67,3,67,8],[65,0,65,2],[67,0,67,2],[65,3,65,8],[66,3,66,8],[66,0,66,2],[73,3,73,8],[74,3,74,8],[74,0,74,2],[71,0,71,2],[72,0,72,2],[71,3,71,8],[72,3,72,8],[12,3,12,8],[8,0,8,9],[9,0,9,2],[17,0,18,2],[17,3,18,9],[12,0,12,2],[9,3,9,9],[15,0,15,9],[10,0,10,2],[10,3,10,9],[11,3,11,9],[20,0,20,2],[52,0,52,2],[52,3,52,9],[19,3,19,9],[26,0,26,9],[23,3,23,9],[24,3,24,9],[38,0,38,7],[37,0,37,7],[29,0,29,7],[51,0,51,2],[20,3,20,9],[0,0,3,9],[50,3,50,9],[5,0,5,5],[11,0,11,2],[7,0,7,9],[16,0,16,9],[50,0,50,2],[21,3,21,9],[13,3,13,9],[23,0,23,2],[24,0,24,2],[13,0,13,2],[40,0,40,6],[39,0,39,7],[19,0,19,2],[21,0,21,2],[53,0,53,2],[53,3,53,9],[32,0,32,9],[22,0,22,2],[22,3,22,9],[34,0,34,7],[35,0,35,7],[36,0,36,7],[30,0,30,7],[29,8,29,9],[30,8,30,9],[28,0,28,7],[51,3,51,9],[27,0,27,7],[33,0,33,9],[55,0,55,9],[54,0,54,9],[58,0,61,8],[63,3,63,8],[64,3,64,8],[64,0,64,2],[63,0,63,2],[62,0,62,8]]}
[" Evidence and Certificate Registration Package\nCommercial Lighting Formula"]
[]
[]
[]
[]
["Section 1 – Installation Details"]
[]
["Section 1.1 - Purchaser (i.e. Original Energy Saver) Details"]
["Purchaser  - Original Energy Saver (OES) Details:"]
["Name of purchaser (OES):"]
["Business Name :"]
["ABN of purchaser (if any):"]
["Business Classification (as per Table A18 of the ESS Rule):"]
["End-Use Services type (As per Table A17 of the ESS Rule):",null,null,"Lighting"]
[]
["Section 1.2 - Lighting Upgrade Installation Summary:"]
["Lighting Upgrade Site Details:"]
["Address:"]
[]
["Suburb:"]
["State:",null,null,"NSW"]
["Postcode:"]
["Phone Number:"]
["Implementation ID (Site identifier):"]
["Implementation Date (as per clause 9.4.2):"]
[]
["Baseline Determination (Using Equations 7 or 8 of the ESS Rule)"]
["Option 1: Is this lighting upgrade undertaken as part of building work required to comply with the Building Code of Australia Part J6? (If you answered 'No' to this question, please move to the \"Lighting Upgrade - Activity Summary\" section below. If you answered 'Yes', please move to the next question.) "]
["Option 2: Is this lighting upgrade undertaken as part of building work required to comply with the Building Code of Australia Part J6, but the existing lighting meets or is below the maximum IPD requirements of the BCA Part J6? (If you answered 'Yes' to this question, please move to the \"Lighting Upgrade - Activity summary\" section below. If you answered 'No', please provide the details immediately below, before completing the \"Lighting Upgrade - Activity Summary\" section). "]
["Space Type (in accordance with BCA Part J6):"]
["Floor Space of the Lighting Upgrade area(s) (m2):"]
[]
["Lighting Upgrade - Activity Summary*"]
["Did the Lighting Upgrade involve the removal, modification or installation of:"]
["- Lamps or luminaires?"]
["- External control gear such as ballasts or transformers?"]
["- Lighting control systems?"]
["- Other equipment ypes of technologies (i.e. non - standard Emerging Lighting Technlogies)?"]
["Was wiring work undertaken in respect of this Lighting Upgrade?"]
["Was a Certificate of Compliance - Electrical Work produced for this Lighting Upgrade?  "]
["*You will need to provide full details of the Lighting Upgrade in Section 2"]
[]
[]
[]
[]
[]
[]
[]
[]
["Section 1.3 - Calculated Energy Savings:"]
["Energy Savings (in MWh)"]
["Indicative Energy Savings Certificates (ESCs)**",null,null,{"$f":"ROUNDDOWN($D$51*1.06,0)","v":0}]
["Minimum Purchaser  co-payment (min. $5/MWh excluding GST)",null,null,{"$f":"D51*5","v":0}]
["Cost to purchaser for the lighting upgrade (excluding GST)"]
["** The Rule introduced a change to how energy savings are converted to ESCs. Each time ESCs are registered, the energy savings from each project are added together. The certificate conversion factor is then applied to the total to calculate the number of ESCs. This may result in an small increase in the number of ESCs being created."]
[]
["Section 1.4  – Personnel involved"]
[]
["The Lighting Upgrade must be performed by appropriately trained persons and it should be undertaken by, or under the supervision of, a Licensed Electrician. Please provide the details of the personnel involved in the Lighting Upgrade as specified below:"]
[]
[]
[]
["Installer Details (If not Designer and/or ACP)"]
["Name:"]
["Company Name:"]
["Company Address:"]
["Phone Number:"]
["Relationship to ACP and or/Designer:"]
[]
["Licensed Electrician Details (If not the Installer)"]
["Name:"]
["Company Name"]
["Company Address:"]
["Electrician Licence Number:"]
["Relationship to ACP:"]

{"sheet":"Section 2","index":1,"n_rows":34,"n_cols":19,"rows_kept":34,"cut":false,"hidden":false,"merged":[[30,18,31,28],[27,0,28,9],[27,10,28,14],[25,0,25,9],[25,10,25,14],[26,0,26,9],[26,10,26,14],[30,16,31,17],[31,0,32,4],[31,6,32,10],[31,12,32,14],[21,0,22,1],[21,2,22,3],[10,2,11,15],[10,0,11,1],[15,0,17,1],[18,0,20,1],[18,4,20,5],[18,12,20,13],[18,8,20,9],[18,10,20,11],[18,6,20,7],[18,2,20,3],[15,2,17,3],[15,4,17,5],[15,6,17,7],[4,17,4,28],[1,16,1,17],[3,17,3,25],[1,0,1,5],[0,0,0,5],[3,0,5,1],[3,2,5,15],[9,17,11,23],[15,8,17,9],[15,10,17,11],[15,12,17,13],[5,17,5,30],[14,20,15,28],[16,20,17,28],[14,16,15,19],[18,20,19,28],[20,20,21,28],[22,20,23,28],[16,16,17,19],[18,16,19,19],[20,16,21,19],[22,16,23,19]]}
["Section 2 – End-User Equipment, ",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Installer / Electrician Declaration:"]
["Space type and BCA classification.",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"I hereby declare that:"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"\u0082","I have installed, or I am responsible for supervising the installation of, the above product(s) at the Implementation (Lighting Upgrade) address below;"]
["Lighting Upgrade Address:",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"\u0082","I am appropriately qualified to undertake or supervise the installation work that was conducted;"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"\u0082","Where wiring work was required, the installation meets all relevant standards and was carried out by a licenced electrician;"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"\u0082","The Lighting Upgrade has not resulted in a reduction of service levels (including safety levels); and "]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"\u0082","The information provided is complete and accurate and I am aware that there are penalties for providing false or misleading information in this form."]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Note:"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"\u0082","Section 158 of the Electricity Supply Act 1995 imposes a maximum penalty of $11,000 and/or six (6) months imprisonment for knowingly providing false or misleading information to the Scheme Administrator."]
["Area Description:"]
[]
[]
[]
[null,null,"Equipment Class",null,"Quantity",null,"Control Gear",null,"NLP / LCP",null,"Control System 1",null,"Control System 2",null,null,null,"Signature:"]
["Existing End- User Equipment"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Name of signatory:"]
[]
["New End- User Equipment",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Position within, and company name of, your business or employer:"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Name of ACP:"]
["Is there available Air Conditioning for the Space?",null,"Not air-conditioned"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Date:"]
[]
[]
["Space Type of the upgraded area as per Table A10.2 of the ESS Rule (equivalent to Part J6 of the BCA):"]
["Building Classification as per Table A10.3 of the ESS Rule (equivalent to the BCA):"]
["Annual Operating Hours of the area as determined by either Tables A10.2 or A10.3 of the ESS Rule:"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Implementation Address:",null,{"$f":"C4","v":0}]
[]
[]
[null,null,"(Installer name)",null,null,null,null,null,"(Installer signature)",null,null,null,null,"(date)"]

{"sheet":"Section 3","index":2,"n_rows":81,"n_cols":3,"rows_kept":81,"cut":false,"hidden":false,"merged":[[14,0,15,5],[14,6,15,7],[14,8,15,9],[44,0,44,7],[45,0,45,7],[39,0,39,7],[20,0,21,9],[22,0,22,7],[23,0,23,7],[18,0,19,3],[28,8,29,8],[28,9,29,9],[28,0,29,7],[30,6,31,9],[30,0,31,5],[32,0,33,7],[56,1,56,9],[57,1,57,9],[78,0,78,1],[78,2,78,9],[62,1,62,9],[66,1,68,9],[69,1,72,9],[59,1,59,9],[58,1,58,9],[60,1,61,9],[46,0,46,3],[50,0,50,1],[51,1,52,9],[53,1,53,8],[54,1,55,9],[1,0,1,9],[34,0,35,9],[36,0,36,7],[37,0,37,7],[38,0,38,7],[2,0,6,9],[9,0,9,9],[10,9,11,9],[10,8,11,8],[10,0,11,6],[10,7,11,7],[7,0,7,2],[7,3,7,9],[16,0,17,9],[18,4,19,9],[12,0,13,9],[32,8,33,8],[32,9,33,9],[40,0,41,9],[42,0,43,9],[24,0,24,7],[25,0,25,7],[26,0,27,9],[80,0,80,1],[75,0,75,1],[76,0,76,1],[77,0,77,1],[80,2,80,9],[75,2,75,9],[76,2,76,9],[79,0,79,1],[77,2,77,9],[79,2,79,9]]}
[]
["Section 3 – BCA and AS/NZS 1680 Standards Compliance \nDeclaration"]
["To complete the relevant parts of this section you must be the person responsible for ensuring/approving that those parts of the Lighting Upgrade met or exceeded the relevant requirements of AS/NZS 1680 and the BCA, as specified in clause 9.4.1 (c) of the ESS Rule. Please complete Part A, either Part B or Part C (as applicable) and Part D. Refer to part 7 of the Evidence Manual for further information."]
[]
[]
[]
[]
["Installation Address: "]
[]
["Part A - AS/NZS 1680 - General Information"]
["Were the requirements of AS/NZS 1680 considered in this lighting upgrade? (If you answered 'N/A', please specify the benchmark approved by the Scheme Administrator for the Lighting Upgrade including the date it was approved in the space below)."]
[]
[]
[]
["Was lighting design software used in the design of this lighting upgrade? "]
[]
["Part B - AS/NZS 1680 Design and Verification - (Refer Evidence Manual - chapters 4.3, 7.2 and table  7.1 -  Method A)"]
[]
["Please provide a description of  your qualifications, training  and/or experience applicable to the design of the Lighting Upgrade."]
[]
["Was compliance with the following requirements considered, assessd and verified?"]
[]
["1. Lumen depreciation (in order to determine appropriate lux levels)"]
["2. Control of Glare (in order to avoid 'disability glare' or 'discomfort glare')"]
["3. Uniformity of Illuminance"]
["4. The Lighting Upgrade was installed as per the AS/NZS 1680 compliant design prepared for its implementation."]
["Part C - AS/NZS 1680 Compliance Verification - (Refer Evidence Manual - Chapters 4.3, 7.2 and table 7.1 Method B)"]
[]
["Have lighting measurements been carried out in a method consistent with Appendix B of AS/NZS 1680?  "]
[]
["Please provide a description of the your qualifications, training and/or experience applicable to take lux measurements. "]
[]
["Are the measurement points clearly indicated on a reflected ceiling plan (or similar lighting diagram)?"]
[]
["Was compliance with the following requirements considered, assessd and verified?"]
[]
["1. Lumen depreciation (in order to determine appropriate lux levels)"]
["2. Control of Glare (in order to avoid 'disability glare' or 'discomfort glare')"]
["3. Uniformity of Illuminance"]
["4. The Lighting Upgrade was installed as per the AS/NZS 1680 compliant design prepared for its implementation."]
["Part D - BCA Requirements"]
[]
["Was compliance with the following requirements considered, assessd and verified?"]
[]
["1. BCA section F4.4, Safe Movement."]
["2. The IPD achived in each space is equal or less than the maximum IPD specified in Part J6 of the BCA."]
["Please sign the declaration on page 2. "]
[]
[" Declaration"]
[]
["I hereby declare that:"]
["\u0082","The requirements of AS/NZS 1680 were considered throughout the design and installation of the \nlighting upgrade;"]
[]
["\u0082","The implementation meets or exceeds the relevant requirements of AS/NZS 1680;"]
["\u0082","Design and/or verification of an AS/NZS 1680 compliant upgrade has been carried out by an appropriately qualified or experienced person;"]
[]
["\u0082","The requirements of section F4.4 of the BCA were considered throughout the design and installation of the lighting upgrade; "]
["\u0082","The IPD achived in each space is equal or less than the maximum IPD specified in Part J6 of the BCA;"]
["\u0082","I have the appropriate qualifications/training as specified by the Scheme Administrator that allows me to sign this declaration."]
["\u0082","I have records of the upgrade that meet the requirements specified in the Evidence Guide;"]
["\u0082","The information contained in Section 3 and accompanying documentation is correct and not misleading by inclusion or omission; and"]
[]
["\u0082","I am aware that there are penalties for providing false or misleading information in this form."]
[]
[]
["Note:"]
["\u0082","Section 158 of the Electricity Supply Act 1995 imposes a maximum penalty of $11,000 and/or six (6) months imprisonment for knowingly providing false or misleading information to the Scheme Administrator"]
[]
[]
["\u0082","Section 138 of the Electricity Supply Act 1995 imposes a maximum penalty of $220,000 for failure to comply with a condition of accreditation and may additionally result in the suspension or cancellation of the Accredited Certificate Provider’s accreditation under clause 95 of the Electricity Supply (General) Regulation 2001"]
[]
[]
[]
[]
[]
["Signature:"]
["Name of signatory:",null,"     "]
["Position within, and company name of, your business or employer:",null,"     "]
["Relation with ACP:"]
["Name of ACP:",null,"     "]
["Date:",null,"     "]

{"sheet":"Section 4","index":3,"n_rows":94,"n_cols":12,"rows_kept":94,"cut":false,"hidden":false,"merged":[[75,2,76,10],[80,2,81,10],[77,2,78,10],[66,5,66,7],[66,8,66,9],[66,1,67,4],[67,5,67,7],[67,8,67,9],[70,1,70,10],[68,1,68,4],[69,1,69,4],[68,5,68,7],[68,8,68,9],[69,5,69,7],[69,8,69,9],[63,10,64,10],[63,1,65,4],[65,5,65,7],[65,8,65,9],[62,1,62,10],[45,1,46,4],[45,5,45,7],[45,8,45,9],[56,8,56,9],[55,5,56,7],[57,1,58,4],[46,5,46,7],[46,8,46,9],[57,5,58,7],[58,8,58,9],[55,8,55,9],[57,8,57,9],[55,1,56,4],[61,1,61,4],[61,5,61,7],[61,8,61,9],[60,1,60,9],[59,1,59,9],[63,5,64,7],[63,8,64,9],[53,1,53,4],[53,5,53,9],[47,1,47,4],[47,5,47,9],[48,1,48,4],[48,5,48,9],[54,1,54,4],[54,5,54,7],[54,8,54,9],[42,5,42,7],[42,8,42,9],[43,5,43,7],[43,8,43,9],[28,5,28,9],[30,5,30,9],[28,1,29,4],[29,5,29,9],[31,5,31,9],[30,1,31,4],[35,1,35,10],[36,1,37,4],[36,5,36,9],[37,5,37,9],[38,1,39,4],[38,5,38,9],[39,5,39,9],[43,1,44,4],[44,5,44,7],[44,8,44,9],[19,5,19,9],[14,1,14,10],[17,5,17,9],[27,1,27,10],[40,1,40,10],[41,5,41,7],[41,8,41,9],[15,1,16,4],[15,5,15,9],[16,5,16,9],[26,1,26,4],[26,5,26,9],[17,1,20,4],[20,5,20,9],[21,1,24,4],[22,5,22,9],[23,5,23,9],[24,5,24,9],[32,5,32,9],[33,5,33,9],[32,1,34,4],[34,5,34,9],[11,1,11,4],[11,5,11,9],[5,1,5,4],[5,5,5,9],[7,5,7,9],[0,1,0,4],[1,1,1,10],[71,1,72,10],[73,1,73,9],[6,5,6,9],[6,1,6,4],[3,1,3,3],[3,4,3,10],[7,1,7,4],[9,1,9,4],[10,1,10,4],[9,5,9,9],[10,5,10,9],[13,5,13,9],[13,1,13,4],[41,1,42,4],[8,1,8,10],[21,5,21,9],[18,5,18,9],[83,2,84,10],[92,3,92,10],[93,3,93,10],[89,3,89,10],[90,3,90,10],[91,3,91,10],[89,1,89,2],[93,1,93,2],[88,1,88,6],[90,1,90,2],[91,1,91,2],[92,1,92,2]]}
[null,"Section 4 - Evidence"]
[null,"Please use the following checklist to confirm that you have collected sufficient supporting evidence for your Lighting Upgrade."]
[]
[null,"Lighting Upgrade Address: "]
[]
[null,"General Requirements",null,null,null,"Supporting Evidence Type\n(Select the relevant documents for each General Requirement)",null,null,null,null,"Attached"]
[null,"Nomination of Energy Savings (if ACP is not the OES)",null,null,null,"Mandatory: Nomination Form "]
[null,"Lighting Upgrade Implementation Date",null,null,null,"Please choose from the drop down list"]
[null,"Purchaser (Original Energy Saver - OES):"]
[null,"1. Co-payment requirement, and",null,null,null,"Please choose from the drop down list"]
[null,"2. Beneficiary of the use of the lighting equipment at the site.",null,null,null,"Nomination Form "]
[null,"Energy Savings Calculations",null,null,null,"Please choose from the drop down list"]
[]
[null,"Calculation Parameters Evidence Requirements",null,null,null,"Supporting Evidence Type\n(Select the relevant documents for each General Requirement)",null,null,null,null,"Attached"]
[null,"Baseline Determination (Using Equation 7 or 8 of the ESS Rule)."]
[null,"Scenario 1: Where the upgrade is not required to comply with Part J6 of the BCA; or",null,null,null,"BCA Declaration (Provided in Section 2 of this package)"]
[null,null,null,null,null,"Lighting Diagram"]
[null,"Scenario 2: Where the upgrade is required to comply with Part J6 of the BCA and the existing lighting does not meet the minimum IPD requirements of Part J6 of the BCA; or",null,null,null,"BCA Declaration (Provided in Section 2 of this package)",null,null,null,null,"      yes      or N/A"]
[null,null,null,null,null,"Lighting Diagram",null,null,null,null,"      yes      or N/A"]
[null,null,null,null,null,"Development consent/certificate showing the date it was issued",null,null,null,null,"      yes      or N/A"]
[null,null,null,null,null,"IPD Calculations",null,null,null,null,"      yes      or N/A"]
[null,"Scenarion 3: The upgrade is required to comply with Part J6 of the BCA, but the existing lighting meets the minimum IPD requirements of Part J6 of the BCA.",null,null,null,"BCA Declaration (Provided in Section 2 of this package)",null,null,null,null,"      yes      or N/A"]
[null,null,null,null,null,"Lighting Diagram",null,null,null,null,"      yes      or N/A"]
[null,null,null,null,null,"Development consent/certificate showing the date it was issued",null,null,null,null,"      yes      or N/A"]
[null,null,null,null,null,"IPD Calculations.",null,null,null,null,"      yes      or N/A"]
[]
[null,"Calculation Parameters Evidence Requirements",null,null,null,"Supporting Evidence Type\n(Select the relevant documents for each General Requirement)",null,null,null,null,"Attached"]
[null,"Lamp Type and Nominal Lamp Power"]
[null,"Pre-implementation (Please provide 1 or a combination of documents to evidence the lamp type and NLP) ",null,null,null,"Please choose from the drop down list"]
[null,null,null,null,null,"Please choose from the drop down list"]
[null,"Post-implementation (Please provide 1 or a combination of documents to evidence the lamp type and NLP) ",null,null,null,"Please choose from the drop down list"]
[null,null,null,null,null,"Please choose from the drop down list"]
[null,"Post Implementation - If the upgrade involved the modification to fluorescent luminaires to accommodate LED Tubes (only those LED Tubes submitted to IPART for acceptance prior to 1 July 2014 and subsequently accepted can be installed in a ‘Modified Luminaire – LED Linear lamp’). Provide 2 Mandatory and 1 supporting documents. ",null,null,null,"Mandatory: IPART acceptance letter for the LED linear lamp."]
[null,null,null,null,null,"Mandatory: CCEW signed by the relevant licensed electrician."]
[null,null,null,null,null,"Please choose from the drop down list"]
[null,"Control Gear (Ballasts/Transformers)"]
[null,"Pre-implementation (2 Documents) ",null,null,null,"Please choose from the drop down list"]
[null,null,null,null,null,"Please choose from the drop down list"]
[null,"Post-implementation (2 Documents) ",null,null,null,"Please choose from the drop down list"]
[null,null,null,null,null,"Please choose from the drop down list"]
[null,"Lamp Quantities"]
[null,"Pre-implementation (1 Mandatory and 1 supporting document)",null,null,null,"Mandatory:",null,null,"Lighting Diagram"]
[null,null,null,null,null,"Supporting (Select 1 of the following):",null,null,"Please choose from the drop down list"]
[null,"Post-implementation (1 Mandatory and 1 supporting document)",null,null,null,"Mandatory:",null,null,"Lighting Diagram"]
[null,null,null,null,null,"Supporting (Select 1 of the following):",null,null,"Please choose from the drop down list"]
[null,"Lighting Control Systems",null,null,null,"Mandatory:",null,null,"Lighting Diagram"]
[null,null,null,null,null,"Supporting (Select 1 of the following):",null,null,"Please choose from the drop down list"]
[null,"Air Conditioning",null,null,null,"Please choose from the drop down list"]
[null,"Lifetime of upgraded lamps (Lamp-only replacements)",null,null,null,"Please choose from the drop down list"]
[]
[]
[]
[]
[null,"Other Specific Evidence Requirements",null,null,null,"Supporting Evidence Type\n(Select the relevant documents for each General Requirement)",null,null,null,null,"Attached"]
[null,"AS/NZS 1680 Compliance",null,null,null,"Mandatory for all upgrades and approaches:",null,null,"AS/NZS 1680 Declaration (Evidence Pack Section3)",null,"    yes        or N/A"]
[null,"Method A -  Design and Verification Approach",null,null,null,"Supporting Documents",null,null,"AS/NZS 1680 Design Documents",null,"    yes        or N/A"]
[null,null,null,null,null,null,null,null,"Commissioning Declaration",null,"    yes        or N/A","   "]
[null,"Method B -  Illumination Measurments Approach",null,null,null,"Supporting Documents",null,null,"Illumination Measurements",null,"    yes        or N/A"]
[null,null,null,null,null,null,null,null,"Lighting Diagram",null,"    yes        or N/A"]
[null,"For either of the approaches above, please attach the relevant training evidence to your evidence package.",null,null,null,null,null,null,null,null,"    yes        or N/A"]
[null,"If the lighting upgrade is outside AS/NZS 1680 scope,  you must provide evidence that you have applied to the Scheme Administrator for the use of a different benchmark and that this has been approved."]
[null,"Electrical Compliance",null,null,null,"Mandatory for all upgrades:",null,null,"Certificate of Compliance - Electrical Work (CCEW)"]
[null,"BCA Classification and compliance."]
[null,"BCA Compliance, IPD and safe movement requirements.",null,null,null,"Mandatory for all upgrades:",null,null,"BCA Compliance Declaration (Evidence Pack Section 3)"]
[]
[null,null,null,null,null,"Mandatory for all upgrades:",null,null,"Achieved IPD calculations for the each space showing that it is equal or less than the maximum IPD specified in Part J6 of the BCA."]
[null,"BCA - Space Type, Building Classification and Annual Operating Hours",null,null,null,"Mandatory for all upgrades:",null,null,"Geo-tagged Photo(s)"]
[null,null,null,null,null,"Please specify the document of supporting evidence (as per table 7.4.1 of the Evidence Manual per space type and/or building classification) you are keeping:"]
[null,"Emerging Lighting Technologies (ELTs)",null,null,null,"Mandatory for all upgrades involving the use of ELT:",null,null,"ELT approval letter*"]
[null,"Special Lamp Circuit Power",null,null,null,"Mandatory for all upgrades involving the use of lighst with an special lamp circuit power requested:",null,null,"Special LCP Approval Letter*"]
[null,"*For ELTs and Special LCPs, the evidence should be kept in a central location rather thatn with each evidence pack"]
[null,"Once you have completed the checklist, please complete the declaration below, prior to registering ESCs from this Lighting Upgrade."]
[]
[null,"In regard to the lighting upgrade detailed in Section 1 of this evidence pack, I hereby declare that:"]
[]
[null,"\u0082","Appropriate enquiries have been made to confirm that the information provided in Sections 1, 2, 3, 4 and 5 of this Evidence Pack is correct and not misleading;"]
[]
[null,"\u0082","The records required as evidence for this Lighting Upgrade have been collected, will be kept for at least 6 years, and are available for audit.  "]
[]
[null,"Note:"]
[null,"\u0082","Section 158 of the Electricity Supply Act 1995 imposes a maximum penalty of $11,000 and/or six (6) months imprisonment for knowingly providing false or misleading information to the Scheme Administrator"]
[]
[]
[null,"\u0082","Section 138 of the Electricity Supply Act 1995 imposes a maximum penalty of $220,000 for failure to comply with a condition of accreditation and may additionally result in the suspension or cancellation of the Accredited Certificate Provider’s accreditation under clause 95 of the Electricity Supply (General) Regulation 2001"]
[]
[]
[]
[]
[null,"Signed by the nominated Accredited Certificate Provider"]
[null,"Signature:"]
[null,"Name of signatory:",null,"     "]
[null,"Position within, and company name of, your business or employer:",null,"     "]
[null,"Name of ACP:",null,"     "]
[null,"Date:",null,"     "]

{"sheet":"Section 5","index":4,"n_rows":23,"n_cols":12,"rows_kept":23,"cut":false,"hidden":false,"merged":[[20,0,20,10],[17,0,17,2],[14,0,14,2],[5,0,5,3],[18,0,18,2],[17,3,17,6],[18,3,18,6],[9,0,9,1],[9,2,9,10],[8,2,8,5],[14,7,14,8],[14,9,14,10],[11,2,11,10],[11,0,11,1],[13,0,13,10],[10,9,10,10],[0,0,4,10],[14,3,14,6],[7,0,7,4],[8,0,8,1],[8,7,8,8],[10,0,10,1],[10,2,10,6],[10,7,10,8]]}
[" Evidence and Certificate Registration Package\nCommercial Lighting Formula - Single Implementation Coversheet"]
[]
[]
[]
[]
["Section 5 - Data submission"]
[]
["Section 5.1 - ACP Details"]
["ACP Name:",null,null,null,null,null,"ACP ID:",null,null,"ABN:"]
["RESA NAME"]
["RESA ID",null,null,null,null,null,null,"Accreditation Date"]
["Methodology",null,"Deemed Energy Savings clause 9.4 - Commercial Lighting Energy Savings Formula"]
[]
["Section 5.2 - Energy Savings "]
["Energy Savings (in MWh)",null,null,{"$f":"L24","v":0},null,null,null,"Energy Savings Certificates",null,{"$f":"ROUNDDOWN($D$15*1.06,0)","v":0}]
[]
["Section 5.3 - Certificate Registration Details"]
["Registration Reference Number"]
["Registration Date"]
[]
["Section 5.4 - Implementation "]
[]
["Implementation Identifier","Implementation Date","Implementation Address Line 1","Address Line 2","Suburb","State","Postcode","End-User ABN \n(if known)","End-Use Service (if known)","End-User Business Classification\n (if known)","Purchase Cost (Excluding GST)","Energy Savings (MWh)"]

{"sheet":"Tables various (2b hide)","index":5,"n_rows":64,"n_cols":8,"rows_kept":64,"cut":false,"hidden":true,"merged":[]}
[]
[]
[null,"A Agriculture, Forestry and Fishing",null,"End-Use Services",null,"Space Type",null,"Building Classification"]
[null,"B Mining",null,"Air heating and cooling",null,"Auditorium, church and public hall",null,"BCA Class 2 buildings (Common Areas)"]
[null,"C Manufacturing",null,"Air handling, fans, ventilation",null,"Board room and conference room",null,"BCA Class 3 buildings (Common Areas)"]
[null,"D Electricity, Gas, Water and Waste Services",null,"Water heating",null,"Carpark – general (undercover)  and Car Park - entry zone (first 20 m of travel)",null,"BCA Class 3 buildings (other than Common Areas)"]
[null,"E Construction",null,"Water/liquid pumping",null,"Carpark – general (open air)",null,"BCA Class 5 buildings"]
[null,"F Wholesale Trade",null,"Refrigeration and freezing",null,"Common rooms, spaces and corridors in a Class 2 building",null,"BCA Class 6 buildings"]
[null,"G Retail Trade",null,"Lighting",null,"Control room, switch room, and the like",null,"BCA Class 7 buildings"]
[null,"H Accommodation and Food Services",null,"Cooking",null,"Corridors",null,"BCA Class 7 (a) buildings (open air car parks)"]
[null,"I Transport, Postal and Warehousing",null,"Home entertainment",null,"Courtroom",null,"BCA Class 7 (a) buildings (undercover car parks)"]
[null,"J Information Media and Telecommunications",null,"Computers, office equipment",null,"Dormitory of a Class 3 building used for sleeping only or sleeping and study",null,"BCA Class 8 buildings (other than ANZSIC Division C, Manufacturing)"]
[null,"K Financial and Insurance Services",null,"Communications",null,"Entry lobby from outside the building",null,"BCA Class 8 buildings (ANZSIC Division C, Manufacturing)"]
[null,"L Rental, Hiring and Real Estate Services",null,"Cleaning, washing",null,"Health-care - children's ward, examination room, patient ward, all patient care areas including corridors where cyanosis lamps are used",null,"BCA Class 9a and 9c buildings"]
[null,"M Professional, Scientific and Technical Services",null,"Process heat",null,"Kitchen and food preparation area",null,"BCA Class 9b buildings"]
[null,"N Administrative and Support Services",null,"Air compression",null,"Laboratory - artificially lit to an ambient level of 400 lx or more",null,"BCA Class 10b buildings"]
[null,"O Public Administration and Safety",null,"Process drives",null,"Library - stack and shelving area,  reading room and general areas",null,"Roads and Public Spaces"]
[null,"P Education and Training",null,"Milling, mixing, grinding",null,"Lounge area for communal use in a Class 3 building or Class 9c aged care building",null,"Traffic Signals"]
[null,"Q Health Care and Social Assistance",null,"Transport",null,"Maintained Emergency Lighting"]
[null,"R Arts and Recreation Services",null,"People movement, lifts, escalators",null,"Museum and gallery - circulation, cleaning and service lighting"]
[null,"S Other Services",null,"Materials handling, conveying",null,"Office"]
[null,"Residential",null,"Other machines",null,"Plant room"]
[null,"Unknown",null,"Electricity supply",null,"Restaurant, café, bar, hotel lounge and a space for the serving and consumption of food or drinks"]
[null,null,null,"Unknown",null,"Retail space including a museum and gallery whose purpose is the sale of objects"]
[null,null,null,"Other End-Use Services as Published by the Scheme Administrator",null,"School - general purpose learning areas and tutorial rooms"]
[null,null,null,null,null,"Sole-occupancy unit of a Class 3 building"]
[null,null,null,null,null,"Sole-occupancy unit of a Class 9c aged care building"]
[null,null,null,null,null,"Storage with shelving no higher than 75% of the height of the aisle lighting"]
[null,null,null,null,null,"Storage with shelving higher than 75% of the height of the aisle lighting"]
[null,null,null,null,null,"Service area, cleaner's room and the like"]
[null,null,null,null,null,"Toilet, locker room, staff room, rest room and the like"]
[null,null,null,null,null,"Wholesale storage and display area"]
[null,null,null,null,null,"Other spaces not defined above"]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,"Equipment Class",null,"Control Gear"]
[null,null,null,"T8 or T12 linear fluorescent Lamp or T8(T9) or T12 circular fluorescent Lamp",null,"Magnetic ballast"]
[null,null,null,"T5 linear fluorescent Lamp or T5 circular fluorescent Lamp",null,"Electronic ballast "]
[null,null,null,"Compact fluorescent Lamp with non-integrated ballast (CFLn)",null,"Magnetic ballast (reactor type)"]
[null,null,null,"Compact fluorescent Lamp with integrated ballast (CFLi)",null,"Magnetic ballast (constant wattage type)"]
[null,null,null,"Tungsten halogen Lamp (240V)",null,"Magnetic transformer"]
[null,null,null,"Tungsten halogen Lamp (ELV) or Infrared coated (IRC) halogen Lamp (ELV)",null,"Electronic transformer"]
[null,null,null,"Metal halide Lamp",null,"Integrated"]
[null,null,null,"Mercury vapour Lamp"]
[null,null,null,"High pressure sodium (HPS) Lamp",null,"Control System"]
[null,null,null,"LED Lamp Only – ELV",null,"Occupancy Sensor"]
[null,null,null,"LED Lamp Only –  240V Self Ballasted",null,"Daylight-Linked Control"]
[null,null,null,"Induction Luminaire",null,"Programmable Dimming"]
[null,null,null,"LED Lamp and Driver",null,"Manual Dimming"]
[null,null,null,"Modified Luminaire –LED Linear Lamp",null,"Multiple Control Systems"]
[null,null,null,"LED Luminaire – fixed type",null,"Voltage Reduction Units (VRU)"]
[null,null,null,"LED Luminaire – Linear Lamp"]
[null,null,null,"LED Luminaire – floodlight"]
[null,null,null,"LED Luminaire – recessed"]
[null,null,null,"LED Luminaire – high/lowbay",null,"Air-conditioning system"]
[null,null,null,"LED Luminaire – emergency lighting",null,"Air-conditioned"]
[null,null,null,"LED Luminaire – hospital use",null,"Not air-conditioned"]
[null,null,null,"Other Emerging Lighting technology"]

{"sheet":"evidence tables (2b hide)","index":6,"n_rows":123,"n_cols":3,"rows_kept":123,"cut":false,"hidden":true,"merged":[]}
[]
[]
[null,"General Requirements","Please choose from the drop down list"]
[null,"Implementation Address and Implementation Date","Certificate Of Compliance -Electrical Work"]
[null,null,"Tax Invoice"]
[null,null,"Contractor Completion/ Commissioning Report"]
[]
[]
[]
[]
[null,null,"Please choose from the drop down list"]
[null,"Original Energy Saver (Co-payment requirment)","Tax Invoice"]
[null,null,"Sales Ledger"]
[]
[]
[null,"Nominated Energy Saver","Nomination Form"]
[]
[null,null,"Please choose from the drop down list"]
[null,"Energy Savings Calculations","IPART Commercial Lighting Calculation Tool"]
[null,null,"Own calculation tool"]
[]
[]
[null,"Calculation Parameter Evidence Requirements"]
[]
[null,"Baseline Determination","BCA Declaration"]
[null,null,"Lighting Diagram"]
[null,null,"Documentation showing BCA approval number and date of issue"]
[null,null,"IPD calculations to support the use of equation 7"]
[]
[null,"Lamp Type and Nominal Lamp Power","Please choose from the drop down list"]
[null,"Pre-Implementation","Geo-tagged photos"]
[null,null,"Asset Register"]
[null,null,"Lighting Diagram"]
[null,null,"Disposal Receipt"]
[null,null,"CCEW"]
[]
[null,null,"Please choose from the drop down list"]
[null,"Post-Implementation","Geo-tagged photos"]
[null,null,"Manufacturer Datasheet"]
[null,null,"Lighting Diagram"]
[null,null,"Tax Invoice"]
[null,null,"As Built Lighting Model/Drawing"]
[null,null,"Laboratory Test Report"]
[null,null,"Registered Information"]
[null,null,"CCEW"]
[]
[null,"Control Gear (Ballasts/Transformers)","Please choose from the drop down list"]
[null,"Pre-Implementation","Geo-tagged photos"]
[null,null,"Asset Register"]
[null,null,"Lighting Diagram"]
[null,null,"Disposal Receipt"]
[null,null,"CCEW"]
[]
[null,null,"Please choose from the drop down list"]
[null,"Post-Implementation","Geo-tagged photos"]
[null,null,"Manufacturer Datasheet"]
[null,null,"Lighting Diagram"]
[null,null,"Tax Invoice"]
[null,null,"CCEW"]
[null,"Lamp Quantities"]
[null,"Pre-Implementation"]
[null,"Required Document:","Lighting Diagram"]
[]
[null,null,"Please choose from the drop down list"]
[null,"Supporting Documents:","Asset Register"]
[null,null,"Geo-tagged Photos (only for small upgrades)"]
[null,null,"Disposal Receipt"]
[null,null,"CCEW"]
[]
[null,"Post-Implementation"]
[null,"Required Document:","Lighting Diagram"]
[]
[null,null,"Please choose from the drop down list"]
[null,"Supporting Documents:","Geo-tagged photos (only for small upgrades)"]
[null,null,"Tax invoice"]
[null,null,"CCEW"]
[]
[null,"Lighting Control Systems"]
[null,"Required Document:","Lighting Diagram"]
[]
[]
[null,null,"Please choose from the drop down list"]
[null,"Supporting Documents:","Geo-tagged photos"]
[null,null,"CCEW"]
[null,null,"Manufacturer Datasheet"]
[]
[null,null,"Please choose from the drop down list"]
[null,"Air Conditioning","Geo-tagged photos"]
[null,null,"Lighting Diagram"]
[null,null,"HVAC Plan"]
[]
[null,null,"Please choose from the drop down list"]
[null,"Lifetime of Upgraded Lamps","Manufacturer Datasheet"]
[null,null,"Laboratory Test Report"]
[null,null,"Registered Information"]
[]
[]
[null,"Other Specific Evidence Requirements"]
[]
[null,"AS/NZS 1680 Compliance"]
[null,"Required Document:","AS1680 Declaration (Evidence Pack Section 3)"]
[]
[null,null,"Please choose from the drop down list"]
[null,"Category A Supporting Documents:","AS/NZS 1680 Design Documents"]
[null,null,"Commissioning Declaration"]
[]
[null,null,"Please choose from the drop down list"]
[null,"Category B Supporting Documents:","Illumination Measurements"]
[null,null,"Lighting Diagram"]
[]
[null,"Electrical Compliance","Certificate of Compliance – Electrical Work"]
[]
[null,"Space Type, BCA classification and Annual Operating Hours"]
[]
[null,"Emerging Lighting Technology or Special Lamp Circuit Power"]
[]
[null,"Emerging Lighting Technology","ELT Approval Letter(s)"]
[]
[null,"Special Lamp Circuit Power","LCP Approval Letter(s)"]
[]
[null,"Modified Luminaires","Please choose from the drop down list"]
[null,null,"Declaration from the relevant licensed electrician that the modifications were performed in accorance with the guidelines provided in ERAC Information Bulletin 'Safety of T8 Lamp Replacement Tubes and Modified Luminaires'."]
[null,null,"Certificate of Suitability for the Modified Luminaire."]