{"text_format":"1","workbook":"xlsx","n_sheets":9,"sheets":["Section 1- All upgrades","Section 2-All Upgrades","Section 3-BL Upgrades","Section 4-BL Upgrades","Section 5-LR&PS Upgrades","Section 6-LR&PS Upgrades","Section 7-All Upgrades","Tables various (2b hide)","evidence tables (2b hide)"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":2,"defined_names":14,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Section 1- All upgrades","index":0,"n_rows":74,"n_cols":5,"rows_kept":74,"cut":false,"hidden":false,"merged":[[68,1,68,9],[69,1,69,3],[69,4,69,9],[66,4,66,9],[64,1,64,3],[66,1,66,3],[64,4,64,9],[65,4,65,9],[65,1,65,3],[72,4,72,9],[73,4,73,9],[73,1,73,3],[70,1,70,3],[71,1,71,3],[70,4,70,9],[71,4,71,9],[21,4,21,10],[46,1,46,10],[34,1,34,8],[13,4,13,9],[9,1,9,10],[10,1,10,3],[18,1,19,3],[18,4,19,10],[13,1,13,3],[10,4,10,10],[16,1,16,10],[11,1,11,3],[11,4,11,10],[12,4,12,10],[23,1,23,3],[23,4,23,10],[1,1,4,10],[49,4,49,10],[12,1,12,3],[8,1,8,10],[17,1,17,10],[49,1,49,3],[22,4,22,10],[14,4,14,10],[24,1,24,3],[25,1,25,3],[14,1,14,3],[45,1,45,8],[20,1,20,3],[22,1,22,3],[21,1,21,3],[20,4,20,10],[39,1,39,8],[40,1,40,8],[41,1,41,8],[31,1,31,8],[30,9,30,10],[31,9,31,10],[29,1,29,8],[28,1,28,8],[38,1,38,10],[27,1,27,10],[24,4,24,10],[25,4,25,10],[30,1,30,8],[33,1,33,10],[37,1,37,10],[62,4,62,9],[63,4,63,9],[63,1,63,3],[62,1,62,3],[61,1,61,9],[57,1,60,9],[52,1,52,3],[52,4,52,10],[50,4,50,10],[51,1,51,3],[51,4,51,10],[42,1,42,8],[50,1,50,3],[43,1,43,8],[54,1,54,10],[53,1,53,10],[44,1,44,8]]}
[]
[null," Evidence and Certificate Registration Pack -- \nCommercial Lighting Energy Savings Formula"]
[]
[]
[]
[]
[null,"Section 1 – Implementation details"]
[]
[null,"Section 1.1 - Purchaser (i.e. Original Energy Saver) details"]
[]
[null,"Name of purchaser (OES):"]
[null,"Business name :"]
[null,"ABN of purchaser (if any):"]
[null,"Business classification (as per Table A18 of the ESS Rule):"]
[null,"End-Use Services type (As per Table A17 of the ESS Rule):",null,null,"Lighting"]
[]
[null,"Section 1.2 - Lighting Upgrade summary"]
[null," Site details:"]
[null,"Address / Name of road and or public space (or geographic location coordinates):"]
[]
[null,"Suburb:"]
[null,"State:",null,null,"NSW"]
[null,"Postcode:"]
[null,"Phone number (of purchaser):"]
[null,"Implementation ID (Site identifier):"]
[null,"Implementation date (as per clause 9.4.2):"]
[]
[null,"Baseline determination - Building lighting (using equations 7 or 8 of the ESS Rule)"]
[null,"Option 1: Is this lighting upgrade undertaken as part of building work required to comply with the Building Code of Australia  (BCA) Part J6? (If you answered 'No' to this question, please move to the \"Activity Summary\" section below. If you answered 'Yes', please move to the next question.) "]
[null,"Option 2: Is this lighting upgrade undertaken as part of building work required to comply with the BCA Part J6, but the existing lighting meets or is below the maximum IPD requirements of the BCA Part J6? (If you answered 'Yes' to this question, please move to the \"Activity summary\" section below. If you answered 'No', please provide the details immediately below, before completing the \"Activity Summary\" section). "]
[null,"Space Type (in accordance with BCA Part J6):"]
[null,"Floor Space of the Lighting Upgrade area(s) (m2):"]
[]
[null,"Baseline determination - Lighting for roads and public spaces"]
[null,"Is this lighting upgrade for roads and public spaces, or the lighting upgrade has any lighting for roads and public spaces component?\n If you answered 'no' to this question, please move to the \"Activity Summary\" section below. If you answered 'Yes', please note that equation 7 must be used for lighting for roads and public spaces components of the lighting upgrade and that Sections 5 and 6 of this Pack must be completed. "]
[]
[]
[null,"Activity summary*"]
[null,"Did the lighting upgrade involve the removal, modification or installation of:"]
[null,"- Lamps or luminaires?"]
[null,"- External control gear such as ballasts or transformers?"]
[null,"- Lighting control systems?"]
[null,"- Other equipment classes for lighting upgrades? (i.e. non-standard lighting technologies listed in Table A9.3 of the Method Guide)?"]
[null,"- LED Luminaire - street light or lighting for roads and public spaces (other that LED lighting)**"]
[null,"Was wiring work undertaken in respect of this lighting upgrade?"]
[null,"Was a Certificate of Compliance - Electrical Work produced for this Lighting Upgrade?  "]
[null,"\n*You will need to provide full details of the lighting upgrade in Section 2\n**You will need to provide additional details in Section 5"]
[]
[null,"Section 1.3 - Calculated energy savings"]
[null,"Energy savings (in MWh)"]
[null,"Indicative Energy Savings Certificates (ESCs)**",null,null,{"$f":"ROUNDDOWN($E$50*1.06,0)","v":0}]
[null,"Minimum purchaser co-payment ($5/MWh excluding GST)",null,null,{"$f":"E50*5","v":0}]
[null,"Actual purchaser co-payment (excluding GST)"]
[null,"** The Rule introduced a change to how energy savings are converted to ESCs. Each time ESCs are registered, the energy savings from each project are added together. The certificate conversion factor is then applied to the total to calculate the number of ESCs. This may result in an small increase in the number of ESCs being created."]
[]
[null,"Section 1.4  – Personnel involved"]
[]
[null,"The Lighting Upgrade must be performed by appropriately trained persons and it should be undertaken by, or under the supervision of, a Licensed Electrician. Please provide the details of the personnel involved in the Lighting Upgrade as specified below:"]
[]
[]
[]
[null,"Installer details (If not Designer and/or ACP)"]
[null,"Name:"]
[null,"Company name:"]
[null,"Company address:"]
[null,"Phone number:"]
[null,"Relationship to ACP and or/Designer:"]
[]
[null,"Licensed Electrician Details (If not the Installer)"]
[null,"Name:"]
[null,"Company name"]
[null,"Company address:"]
[null,"Electrician Licence Number:"]
[null,"Relationship to ACP:"]

{"sheet":"Section 2-All Upgrades","index":1,"n_rows":35,"n_cols":21,"rows_kept":35,"cut":false,"hidden":false,"merged":[[23,1,24,2],[33,1,34,2],[31,1,32,2],[29,1,30,2],[27,1,28,2],[25,1,26,2],[30,9,30,10],[31,9,31,10],[32,9,32,10],[33,9,33,10],[34,9,34,10],[25,9,25,10],[26,9,26,10],[27,9,27,10],[28,9,28,10],[29,9,29,10],[25,8,26,8],[27,8,28,8],[29,8,30,8],[31,8,32,8],[33,8,34,8],[31,3,32,3],[33,3,34,3],[31,4,32,5],[33,4,34,5],[29,6,30,7],[31,6,32,7],[33,6,34,7],[17,4,18,5],[19,4,20,5],[21,4,22,5],[23,4,24,5],[25,4,26,5],[25,3,26,3],[27,3,28,3],[29,3,30,3],[11,6,12,7],[13,6,14,7],[15,6,16,7],[17,6,18,7],[19,6,20,7],[21,6,22,7],[23,6,24,7],[25,6,26,7],[27,6,28,7],[27,4,28,5],[29,4,30,5],[15,4,16,5],[26,20,27,30],[26,18,27,19],[11,1,12,2],[5,19,5,30],[2,18,2,19],[4,19,4,27],[2,1,2,6],[11,8,12,8],[8,12,10,12],[13,8,14,8],[11,9,11,10],[12,9,12,10],[13,9,13,10],[14,9,14,10],[11,3,12,3],[8,1,10,2],[11,4,12,5],[13,4,14,5],[13,1,14,2],[8,13,10,13],[8,14,10,14],[8,15,10,15],[8,16,10,16],[4,1,6,3],[23,22,24,30],[17,18,18,21],[19,18,20,21],[21,18,22,21],[23,18,24,21],[15,1,16,2],[17,1,18,2],[19,1,20,2],[21,1,22,2],[15,3,16,3],[17,3,18,3],[19,3,20,3],[21,3,22,3],[23,3,24,3],[15,8,16,8],[17,8,18,8],[19,8,20,8],[21,8,22,8],[23,8,24,8],[20,9,20,10],[21,9,21,10],[22,9,22,10],[23,9,23,10],[24,9,24,10],[1,1,1,6],[10,19,12,25],[6,19,6,32],[15,22,16,30],[17,22,18,30],[15,18,16,21],[19,22,20,30],[21,22,22,30],[8,6,10,7],[8,4,10,5],[8,9,10,11],[8,3,10,3],[8,8,10,8],[13,3,14,3],[15,9,15,10],[16,9,16,10],[17,9,17,10],[18,9,18,10],[19,9,19,10],[4,4,6,16]]}
[]
[null,"Section 2 – Upgraded areas details",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Section 2.2 - Project Manager/Installer/ Electrician Declaration:"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"I hereby declare that:"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"\u0082","I have installed, or I am responsible for supervising the installation of, the above product(s) at the Implementation (Lighting Upgrade) address below;"]
[null,"Lighting Upgrade Address or\nGeographic location (for lighting for roads and public spaces):",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"\u0082","I am appropriately qualified to undertake or supervise the installation work that was conducted;"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"\u0082","Where wiring work was required, the installation meets all relevant standards and was carried out by a licensed electrician;"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"\u0082","The Lighting Upgrade has not resulted in a reduction of service levels (including safety levels); and "]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"\u0082","The information provided is complete and accurate and I am aware that there are penalties for providing false or misleading information in this form."]
[null,"Area Description",null,"Space type of the upgraded area as per Table A10.2 of the ESS Rule(equivalent to Part J6 of the BCA):","Building Classification as per Table A10.3 of the ESS Rule (equivalent to the BCA):",null,"Annual Operating Hours of the area as determined by either Tables A10.2 or A10.3 of the ESS Rule:  ",null,"Is there air-conditioning in the space?","Equipment Class",null,null,"Quantity","Control Gear","NLP/LCP","Control System 1","Control System 2"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Note:"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"\u0082","Section 158 of the Electricity Supply Act 1995 imposes a maximum penalty of $11,000 and/or six (6) months imprisonment for knowingly providing false or misleading information to the Scheme Administrator."]
[null,null,null,null,null,null,null,null,null,"Existing EUE"]
[null,null,null,null,null,null,null,null,null,"New EUE"]
[null,null,null,null,null,null,null,null,null,"Existing EUE"]
[null,null,null,null,null,null,null,null,null,"New EUE"]
[null,null,null,null,null,null,null,null,null,"Existing EUE",null,null,null,null,null,null,null,null,"Signature:"]
[null,null,null,null,null,null,null,null,null,"New EUE"]
[null,null,null,null,null,null,null,null,null,"Existing EUE",null,null,null,null,null,null,null,null,"Name of signatory:"]
[null,null,null,null,null,null,null,null,null,"New EUE"]
[null,null,null,null,null,null,null,null,null,"Existing EUE",null,null,null,null,null,null,null,null,"Position within, and company name of, your business or employer:"]
[null,null,null,null,null,null,null,null,null,"New EUE"]
[null,null,null,null,null,null,null,null,null,"Existing EUE",null,null,null,null,null,null,null,null,"Name of ACP:"]
[null,null,null,null,null,null,null,null,null,"New EUE"]
[null,null,null,null,null,null,null,null,null,"Existing EUE",null,null,null,null,null,null,null,null,"Date:"]
[null,null,null,null,null,null,null,null,null,"New EUE"]
[null,null,null,null,null,null,null,null,null,"Existing EUE"]
[null,null,null,null,null,null,null,null,null,"New EUE",null,null,null,null,null,null,null,null,"Implementation Address:",null,{"$f":"E5","v":0}]
[null,null,null,null,null,null,null,null,null,"Existing EUE"]
[null,null,null,null,null,null,null,null,null,"New EUE"]
[null,null,null,null,null,null,null,null,null,"Existing EUE"]
[null,null,null,null,null,null,null,null,null,"New EUE"]
[null,null,null,null,null,null,null,null,null,"Existing EUE"]
[null,null,null,null,null,null,null,null,null,"New EUE"]
[null,null,null,null,null,null,null,null,null,"Existing EUE"]
[null,null,null,null,null,null,null,null,null,"New EUE"]

{"sheet":"Section 3-BL Upgrades","index":2,"n_rows":82,"n_cols":4,"rows_kept":82,"cut":false,"hidden":false,"merged":[[14,1,15,6],[14,7,15,8],[14,9,15,10],[44,1,44,8],[45,1,45,8],[39,1,39,8],[20,1,21,10],[22,1,22,8],[23,1,23,8],[18,1,19,4],[28,9,29,9],[28,10,29,10],[28,1,29,8],[30,7,31,10],[30,1,31,6],[32,1,33,8],[57,2,57,10],[58,2,58,10],[79,1,79,2],[79,3,79,10],[63,2,63,10],[67,2,69,10],[70,2,73,10],[60,2,60,10],[59,2,59,10],[61,2,62,10],[47,1,47,4],[51,1,51,2],[52,2,53,10],[54,2,54,9],[55,2,56,10],[1,1,1,10],[34,1,35,10],[36,1,36,8],[37,1,37,8],[38,1,38,8],[2,1,6,10],[9,1,9,10],[10,10,11,10],[10,9,11,9],[10,1,11,7],[10,8,11,8],[7,1,7,3],[7,4,7,10],[16,1,17,10],[18,5,19,10],[12,1,13,10],[32,9,33,9],[32,10,33,10],[40,1,41,10],[42,1,43,10],[24,1,24,8],[25,1,25,8],[26,1,27,10],[81,1,81,2],[76,1,76,2],[77,1,77,2],[78,1,78,2],[81,3,81,10],[76,3,76,10],[77,3,77,10],[80,1,80,2],[78,3,78,10],[80,3,80,10]]}
[]
[null,"Section 3 – Declaration of compliance with AS/NZS 1680 and BCA requirements -- Bulding lighting\nDeclaration - building lighting"]
[null,"To complete the relevant parts of this section you must be the person responsible for ensuring/approving that those parts of the Lighting Upgrade met or exceeded the relevant requirements of AS/NZS 1680 and the BCA, as specified in clause 9.4.1 (c) of the ESS Rule. Please complete Part A, either Part B or Part C (as applicable) and Part D. Refer to section 3.3 of the Evidence Manual for further information."]
[]
[]
[]
[]
[null,"Installation address: "]
[]
[null,"Part A - AS/NZS 1680 - General information"]
[null,"Were the requirements of AS/NZS 1680 considered in this Lighting Upgrade? (If you answered 'N/A', please specify the benchmark approved by the Scheme Administrator for the Lighting Upgrade including the date it was approved in the space below)."]
[]
[]
[]
[null,"Was lighting design software used in the design of this Lighting Upgrade? "]
[]
[null,"Part B - AS/NZS 1680 design and verification - (see section 4.3 of the Evidence Manual)"]
[]
[null,"Please provide a description of  your qualifications, training  and/or experience applicable to the design of the Lighting Upgrade."]
[]
[null,"Was compliance with the following requirements considered, assessed and verified?"]
[]
[null,"1. Lumen depreciation (in order to determine appropriate lux levels)"]
[null,"2. Control of Glare (in order to avoid 'disability glare' or 'discomfort glare')"]
[null,"3. Uniformity of Illuminance"]
[null,"4. The Lighting Upgrade was installed as per the AS/NZS 1680 compliant design prepared for its implementation."]
[null,"Part C - AS/NZS 1680 compliance verification - (See section 4.3 of the Evidence Manual )"]
[]
[null,"Have lighting measurements been carried out in a method consistent with Appendix B of AS/NZS 1680?  "]
[]
[null,"Please provide a description of the your qualifications, training and/or experience applicable to take lux measurements. "]
[]
[null,"Are the measurement points clearly indicated on a reflected ceiling plan (or similar lighting diagram)?"]
[]
[null,"Was compliance with the following requirements considered, assessed and verified?"]
[]
[null,"1. Lumen depreciation (in order to determine appropriate lux levels)"]
[null,"2. Control of Glare (in order to avoid 'disability glare' or 'discomfort glare')"]
[null,"3. Uniformity of Illuminance"]
[null,"4. The Lighting Upgrade was installed as per the AS/NZS 1680 requirements."]
[null,"Part D - BCA requirements (see section 4.3 of the Evidence Manual)"]
[]
[null,"Was compliance with the following requirements considered, assessed and verified?"]
[]
[null,"1. BCA section F4.4, Safe Movement."]
[null,"2. The IPD achieved in each space is equal or less than the maximum IPD specified in Part J6 of the BCA."]
[]
[null,"Please sign the declaration below: "]
[]
[null," Declaration"]
[]
[null,"I hereby declare that:"]
[null,"\u0082","The requirements of AS/NZS 1680 were satisfied throughout the design and installation of the \nLighting Upgrade;"]
[]
[null,"\u0082","The implementation meets or exceeds the relevant requirements of AS/NZS 1680;"]
[null,"\u0082","Design and/or verification of an AS/NZS 1680 compliant upgrade has been carried out by an appropriately qualified or experienced person;"]
[]
[null,"\u0082","The requirements of section F4.4 of the BCA were considered throughout the design and installation of the Lighting Upgrade; "]
[null,"\u0082","The IPD achieved in each space is equal or less than the maximum IPD specified in Part J6 of the BCA;"]
[null,"\u0082","I have the appropriate qualifications/training as specified by the Scheme Administrator that allows me to sign this declaration;"]
[null,"\u0082","I have records of the upgrade that meet the requirements specified in the Evidence Guide;"]
[null,"\u0082","The information contained in Section 3 and accompanying documentation is correct and not misleading by inclusion or omission; and"]
[]
[null,"\u0082","I am aware that there are penalties for providing false or misleading information in this form."]
[]
[]
[null,"Note:"]
[null,"\u0082","Section 158 of the Electricity Supply Act 1995 imposes a maximum penalty of $11,000 and/or six (6) months imprisonment for knowingly providing false or misleading information to the Scheme Administrator"]
[]
[]
[null,"\u0082","Section 138 of the Electricity Supply Act 1995 imposes a maximum penalty of $220,000 for failure to comply with a condition of accreditation and may additionally result in the suspension or cancellation of the Accredited Certificate Provider’s accreditation under clause 95 of the Electricity Supply (General) Regulation 2001"]
[]
[]
[]
[]
[]
[null,"Signature:"]
[null,"Name of signatory:",null,"     "]
[null,"Position within, and company name of, your business or employer:",null,"     "]
[null,"Relation with ACP:"]
[null,"Name of ACP:",null,"     "]
[null,"Date:",null,"     "]

{"sheet":"Section 4-BL Upgrades","index":3,"n_rows":96,"n_cols":12,"rows_kept":96,"cut":false,"hidden":false,"merged":[[48,1,49,4],[48,5,48,7],[48,8,48,9],[49,5,49,7],[49,8,49,9],[78,2,78,10],[82,2,83,10],[79,2,80,10],[66,5,66,7],[66,8,66,9],[66,1,67,4],[67,5,67,7],[67,8,67,9],[71,1,71,10],[68,1,68,4],[69,1,69,4],[68,5,68,7],[68,8,68,9],[69,5,69,7],[69,8,69,9],[70,1,70,4],[70,5,70,7],[70,8,70,9],[63,10,64,10],[63,1,65,4],[65,5,65,7],[65,8,65,9],[62,1,62,10],[46,1,47,4],[46,5,46,7],[46,8,46,9],[56,8,56,9],[55,5,56,7],[57,1,58,4],[47,5,47,7],[47,8,47,9],[57,5,58,7],[58,8,58,9],[55,8,55,9],[57,8,57,9],[55,1,56,4],[61,1,61,4],[61,5,61,7],[61,8,61,9],[60,1,60,9],[59,1,59,9],[63,5,64,7],[63,8,64,9],[53,1,53,4],[53,5,53,9],[50,1,50,4],[50,5,50,9],[51,1,51,4],[51,5,51,9],[54,1,54,4],[54,5,54,7],[54,8,54,9],[43,5,43,7],[43,8,43,9],[44,5,44,7],[44,8,44,9],[29,5,29,9],[31,5,31,9],[29,1,30,4],[30,5,30,9],[32,5,32,9],[31,1,32,4],[36,1,36,10],[37,1,38,4],[37,5,37,9],[38,5,38,9],[39,1,40,4],[39,5,39,9],[40,5,40,9],[44,1,45,4],[45,5,45,7],[45,8,45,9],[18,1,21,4],[21,5,21,9],[22,1,25,4],[23,5,23,9],[24,5,24,9],[25,5,25,9],[33,5,33,9],[34,5,34,9],[33,1,35,4],[35,5,35,9],[4,4,4,10],[8,1,8,4],[10,1,10,4],[11,1,11,4],[10,5,10,9],[11,5,11,9],[14,5,14,9],[14,1,14,4],[42,1,43,4],[9,1,9,10],[22,5,22,9],[19,5,19,9],[20,5,20,9],[15,1,15,10],[18,5,18,9],[28,1,28,10],[41,1,41,10],[42,5,42,7],[42,8,42,9],[16,1,17,4],[16,5,16,9],[17,5,17,9],[27,1,27,4],[27,5,27,9],[1,1,1,10],[85,2,86,10],[94,3,94,10],[95,3,95,10],[91,3,91,10],[92,3,92,10],[93,3,93,10],[91,1,91,2],[95,1,95,2],[90,1,90,6],[92,1,92,2],[93,1,93,2],[94,1,94,2],[12,1,12,4],[12,5,12,9],[6,1,6,4],[6,5,6,9],[8,5,8,9],[2,1,2,10],[74,1,75,10],[76,1,76,9],[7,5,7,9],[7,1,7,4],[4,1,4,3]]}
[]
[null,"Section 4 - Evidence of energy savings - Building lighting"]
[null,"Please use the following checklist to confirm that you have collected sufficient supporting evidence for your implementation.  Refer to Chapter 4 of the Evidence Manual for further information."]
[]
[null,"Implementation address: "]
[]
[null,"General requirements",null,null,null,"Evidence type\n(Select the relevant documents for each general requirement)",null,null,null,null,"Attached"]
[null,"Nomination of energy savings (if ACP is not the OES)",null,null,null,"Mandatory: Nomination Form "]
[null," Implementation date",null,null,null,"Please choose from the drop down list"]
[null,"Purchaser (Original Energy Saver - OES):"]
[null,"1. Co-payment requirement, and",null,null,null,"Please choose from the drop down list"]
[null,"2. Beneficiary of the use of the lighting equipment at the site.",null,null,null,"Nomination Form "]
[null,"Energy savings calculations",null,null,null,"Please choose from the drop down list"]
[]
[null,"Calculation parameters evidence requirements",null,null,null,"Evidence type\n(Select the relevant documents for each evidence requirement)",null,null,null,null,"Attached"]
[null,"Baseline determination (using equation 7 or 8 of the ESS Rule)."]
[null,"Scenario 1: Where the upgrade is not required to comply with Part J6 of the BCA; or",null,null,null,"BCA declaration (provided in Section 2 of this Pack)"]
[null,null,null,null,null,"Lighting diagram"]
[null,"Scenario 2: Where the upgrade is required to comply with Part J6 of the BCA and the existing lighting meets or is below the maximum IPD requirements of Part J6 of the BCA; or",null,null,null,"BCA declaration (Provided in Section 2 of this Pack)",null,null,null,null,"      yes      or N/A"]
[null,null,null,null,null,"Lighting diagram",null,null,null,null,"      yes      or N/A"]
[null,null,null,null,null,"Development consent/certificate showing the date it was issued",null,null,null,null,"      yes      or N/A"]
[null,null,null,null,null,"IPD calculations - Pre-upgrade",null,null,null,null,"      yes      or N/A"]
[null,"Scenario 3: The upgrade is required to comply with Part J6 of the BCA and the existing lighting does not meet the IPD requirements of Part J6 of the BCA.",null,null,null,"BCA declaration (provided in Section 2 of this Pack)",null,null,null,null,"      yes      or N/A"]
[null,null,null,null,null,"Lighting diagram",null,null,null,null,"      yes      or N/A"]
[null,null,null,null,null,"Development consent/certificate showing the date it was issued",null,null,null,null,"      yes      or N/A"]
[null,null,null,null,null,"IPD calculations - Pre-upgrade",null,null,null,null,"      yes      or N/A"]
[]
[null,"Calculation parameters evidence requirements",null,null,null,"Evidence type\n(Select the relevant documents for each evidnece requirement)",null,null,null,null,"Attached"]
[null,"Lamp type and Nominal Lamp Power (NLP)"]
[null,"Pre-implementation (Please provide 1 or a combination of documents to evidence the lamp type and NLP) ",null,null,null,"Please choose from the drop down list"]
[null,null,null,null,null,"Please choose from the drop down list"]
[null,"Post-implementation (Please provide 1 or a combination of documents to evidence the lamp type and NLP) ",null,null,null,"Please choose from the drop down list"]
[null,null,null,null,null,"Please choose from the drop down list"]
[null,"Post-implementation - If the upgrade involved the modification to fluorescent luminaires to accommodate LED Tubes (only those LED Tubes submitted to IPART for acceptance prior to 1 July 2014 and subsequently accepted can be installed in a ‘Modified Luminaire – LED Linear lamp’). Provide 2 Mandatory and 1 supporting documents. ",null,null,null,"Mandatory: IPART acceptance letter for the LED linear lamp"]
[null,null,null,null,null,"Mandatory: CCEW signed by the relevant licensed electrician"]
[null,null,null,null,null,"Please choose from the drop down list"]
[null,"Control gear (ballasts/transformers)"]
[null,"Pre-implementation (2 Documents) ",null,null,null,"Please choose from the drop down list"]
[null,null,null,null,null,"Please choose from the drop down list"]
[null,"Post-implementation (2 Documents) ",null,null,null,"Please choose from the drop down list"]
[null,null,null,null,null,"Please choose from the drop down list"]
[null,"Lamp quantities"]
[null,"Pre-implementation (1 mandatory and 1 supporting document)",null,null,null,"Mandatory:",null,null,"Lighting diagram"]
[null,null,null,null,null,"Supporting (select 1 of the following):",null,null,"Please choose from the drop down list"]
[null,"Post-implementation (1 mandatory and 1 supporting document)",null,null,null,"Mandatory:",null,null,"Lighting diagram"]
[null,null,null,null,null,"Supporting (select 1 of the following):",null,null,"Please choose from the drop down list"]
[null,"Lighting Control Systems (before lighting upgrade)",null,null,null,"Mandatory:",null,null,"Lighting diagram"]
[null,null,null,null,null,"Supporting (select 1 of the following):",null,null,"Please choose from the drop down list"]
[null,"Lighting Control Systems (after lighting upgrade if these were changed)",null,null,null,"Mandatory:",null,null,"Lighting diagram"]
[null,null,null,null,null,"Supporting (select 1 of the following):",null,null,"Please choose from the drop down list"]
[null,"Air conditioning",null,null,null,"Please choose from the drop down list"]
[null,"Lifetime of upgraded lamps (lamp-only replacements)",null,null,null,"Please choose from the drop down list"]
[]
[null,"Other specific evidence requirements",null,null,null,"Evidence type\n(Select the relevant documents for each evidence requirement)",null,null,null,null,"Attached"]
[null,"AS/NZS 1680 compliance",null,null,null,"Mandatory for all upgrades and approaches:",null,null,"AS/NZS 1680 declaration (Section 3 of this Pack)",null,"    yes        or N/A"]
[null,"Method A -  Design and Verification Approach",null,null,null,"Supporting documents",null,null,"AS/NZS 1680 design documents",null,"    yes        or N/A"]
[null,null,null,null,null,null,null,null,"Commissioning declaration",null,"    yes        or N/A","   "]
[null,"Method B -  Illumination Measurments Approach",null,null,null,"Supporting documents",null,null,"Illumination measurements",null,"    yes        or N/A"]
[null,null,null,null,null,null,null,null,"Lighting diagram",null,"    yes        or N/A"]
[null,"For either of the approaches above, please attach the relevant training evidence to your Pack.",null,null,null,null,null,null,null,null,"    yes        or N/A"]
[null,"If the Lighting Upgrade is outside AS/NZS 1680 scope,  you must provide evidence that you have applied to the Scheme Administrator for the use of a different benchmark and that this has been approved."]
[null,"Electrical compliance",null,null,null,"Mandatory for all upgrades:",null,null,"Certificate of Compliance - Electrical Work (CCEW)"]
[null,"BCA classification and compliance"]
[null,"BCA sompliance, IPD and safe movement requirements",null,null,null,"Mandatory for all upgrades:",null,null,"BCA compliance declaration (Section 3 of this Pack)"]
[]
[null,null,null,null,null,"Mandatory for all upgrades:",null,null,"Achieved IPD calculations for the each space showing that it is equal or less than the maximum IPD specified in Part J6 of the BCA."]
[null,"BCA - space type, building classification and annual operating hours",null,null,null,"Mandatory for all upgrades:",null,null,"Geo-tagged Photo(s)"]
[null,null,null,null,null,"Please specify the document of supporting evidence (as per table 7.4.1 of the Evidence Manual per space type and/or building classification) you are keeping:"]
[null,"Emerging Lighting Technologies (ELTs)",null,null,null,"Mandatory for all upgrades involving the use of ELT:",null,null,"ELT approval letter*"]
[null,"Special Lamp Circuit Power (LCP)",null,null,null,"Mandatory for all upgrades involving the use of lighst with an special lamp circuit power requested:",null,null,"Special LCP approval letter*"]
[null,"Lighting Quality Statement",null,null,null,"Mandatory for all lighting upgrades",null,null,"Signed Lighting Quality Statement by the purchaser and the ACP"]
[null,"*For ELTs and Special LCPs, the evidence should be kept in a central location rather thatn with each Pack."]
[]
[]
[null,"Once you have completed the checklist, please complete the declaration below, prior to registering ESCs from this Lighting Upgrade."]
[]
[null,"In regard to the implementation detailed in Section 1 of this Pack, I hereby declare that:"]
[]
[null,"\u0082","Appropriate enquiries have been made to confirm that the information provided in Sections 1, 2, 3, 4 and 7 of this Pack is correct and not misleading;"]
[null,"\u0082","The records required as evidence for this Lighting Upgrade have been collected, will be kept for at least 6 years, and are available for audit.  "]
[]
[null,"Note:"]
[null,"\u0082","Section 158 of the Electricity Supply Act 1995 imposes a maximum penalty of $11,000 and/or six (6) months imprisonment for knowingly providing false or misleading information to the Scheme Administrator"]
[]
[]
[null,"\u0082","Section 138 of the Electricity Supply Act 1995 imposes a maximum penalty of $220,000 for failure to comply with a condition of accreditation and may additionally result in the suspension or cancellation of the Accredited Certificate Provider’s accreditation under clause 95 of the Electricity Supply (General) Regulation 2001"]
[]
[]
[]
[]
[null,"Signed by the nominated Accredited Certificate Provider"]
[null,"Signature:"]
[null,"Name of signatory:",null,"     "]
[null,"Position within, and company name of, your business or employer:",null,"     "]
[null,"Name of ACP:",null,"     "]
[null,"Date:",null,"     "]

{"sheet":"Section 5-LR&PS Upgrades","index":4,"n_rows":58,"n_cols":4,"rows_kept":58,"cut":false,"hidden":false,"merged":[[56,1,56,2],[56,3,56,10],[57,1,57,2],[57,3,57,10],[53,1,53,2],[53,3,53,10],[54,1,54,2],[54,3,54,10],[55,1,55,2],[55,3,55,10],[37,2,38,10],[39,2,39,10],[43,2,45,10],[46,2,49,10],[52,1,52,2],[52,3,52,10],[34,2,34,10],[36,2,36,10],[25,1,25,4],[29,1,29,2],[31,2,32,10],[33,2,33,9],[35,2,35,10],[22,1,22,10],[23,1,23,10],[18,1,18,8],[19,1,19,8],[31,1,32,1],[12,1,13,10],[14,1,15,10],[16,1,17,4],[16,5,17,10],[20,1,21,8],[20,9,21,9],[20,10,21,10],[10,1,11,7],[10,8,11,8],[10,9,11,9],[10,10,11,10],[1,1,1,10],[2,1,6,10],[7,1,7,3],[7,4,7,10],[9,1,9,10]]}
[]
[null,"Section 5 – Declaration of compliance with AS/NZS 1158 -- Lighting for roads and public spaces\n"]
[null,"To complete the relevant parts of this section you must be the person responsible for ensuring/approving that those parts of the Lighting Upgrade meet or exceeded the relevant requirements of AS/NZS 1158, as specified in clause 9.4.1 (b) of the ESS Rule. Please complete Part A, Part B sign the declaration provided below. Refer to Chapter 3 of the Evidence Manual for further information."]
[]
[]
[]
[]
[null,"Installation's location details: "]
[]
[null,"Part A - AS/NZS 1158 - General information"]
[null,"Is the Lighting Upgrade of Category V Lighting (Vehicular Traffic) or Category P Lighting (Pedestrian Areas) as defined by AS/NZS 1158? (If you answered 'No', then the AS/NZS 1158 may not be applicable. Please specify the benchmark approved by the Scheme Administrator for the Lighting Upgrade including the date it was approved in the space below)."]
[]
[]
[]
[null,"Part B - AS/NZS 1158 Design and compliance verification - (Refer to section 3.5 of the Evidence Manual for further information)"]
[]
[null,"Please provide a description of  your qualifications, training  and/or experience applicable to the design of the lighting for roads and public spaces upgrade."]
[]
[null,"1.- If the Lighting Upgrade is of Category V (Vehicular traffic), compliance with the design and the installation has been verified as per section 2.11 of AS/NZS 1158.1.1 - Vehicular traffic (Category V) lighting - Performance and design requirements."]
[null,"2.- If the Lighting Upgrade is of Category P (Pedestrian area), compliance with the design the installation has been verified as per section 2.10 of AS/NZS 1158.3.1 - Pedestrian Area (Category P) lighting - Performance and design requirements."]
[null,"3.- Were the Lighting Technical Parameters (LTPs) calculated in accordance with AS/NZS 1158.2 – Computer procedures for the calculation of light technical parameters for Category V and Category P lighting?"]
[]
[null,"Please note that compliance with both Category V and Category P it is only achieved if all the required values of the Lighting Technical Parameters (LTPs) for all the subcategories within the upgrade have been met. \n\nIf you answered \"No\" to question 3, please specify how you will verify that all the relevant LTPs required values have been achieved in the space below:"]
[]
[]
[null,"Please sign the declaration below: "]
[]
[null," Declaration"]
[]
[null,"I hereby declare that:"]
[]
[null,"\u0082","The requirements of AS/NZS 1158 were satisifed throughout the design and installation of the \nLighting Upgrade;"]
[]
[null,"\u0082","The implementation meets the relevant requirements of AS/NZS 1158;"]
[null,"\u0082","Design and installation of the Lighting Upgrade is compliant with either AS/NZS 11581.1 - Vehicular traffic (Category V) lighting or AS/NZS 1158.3.1 - Pedestrian area (Category P) lighting "]
[null,"\u0082","I have the appropriate qualifications/training as specified by the Scheme Administrator that allows me to sign this declaration."]
[null,"\u0082","I have records of the Lighting Upgrade that meet the requirements specified in the Evidence Guide;"]
[null,"\u0082","The information contained in Section 5 and accompanying documentation is correct and not misleading by inclusion or omission; and"]
[null,"\u0082"]
[null,"\u0082","I am aware that there are penalties for providing false or misleading information in this form."]
[]
[]
[null,"Note:"]
[null,"\u0082","Section 158 of the Electricity Supply Act 1995 imposes a maximum penalty of $11,000 and/or six (6) months imprisonment for knowingly providing false or misleading information to the Scheme Administrator"]
[]
[]
[null,"\u0082","Section 138 of the Electricity Supply Act 1995 imposes a maximum penalty of $220,000 for failure to comply with a condition of accreditation and may additionally result in the suspension or cancellation of the Accredited Certificate Provider’s accreditation under clause 95 of the Electricity Supply (General) Regulation 2001"]
[]
[]
[]
[]
[]
[null,"Signature:"]
[null,"Name of signatory:",null,"     "]
[null,"Position within, and company name of, your business or employer:",null,"     "]
[null,"Relation with ACP:"]
[null,"Name of ACP:",null,"     "]
[null,"Date:",null,"     "]

{"sheet":"Section 6-LR&PS Upgrades","index":5,"n_rows":81,"n_cols":12,"rows_kept":81,"cut":false,"hidden":false,"merged":[[50,10,51,10],[57,1,57,4],[56,5,56,9],[57,5,57,9],[80,3,80,10],[79,3,79,10],[78,3,78,10],[77,3,77,10],[76,3,76,10],[56,1,56,4],[52,1,53,4],[54,1,54,9],[55,1,55,9],[20,1,20,10],[16,1,16,9],[30,5,30,9],[24,1,26,4],[23,1,23,10],[27,1,30,4],[27,5,27,9],[29,5,29,9],[28,5,28,9],[21,1,22,4],[21,5,21,9],[22,5,22,9],[25,5,25,9],[26,5,26,9],[24,5,24,9],[19,1,19,4],[31,1,31,10],[32,1,32,9],[79,1,79,2],[80,1,80,2],[76,1,76,2],[77,1,77,2],[78,1,78,2],[63,2,63,10],[64,2,65,10],[67,2,68,10],[70,2,71,10],[75,1,75,6],[59,1,60,10],[61,1,61,9],[52,5,53,9],[52,10,53,10],[49,1,49,4],[50,1,51,4],[50,5,51,9],[49,5,49,9],[46,1,46,4],[46,5,46,9],[48,1,48,4],[48,5,48,9],[42,1,43,4],[42,5,42,7],[42,8,42,9],[43,5,43,7],[43,8,43,9],[44,1,45,4],[44,5,44,7],[44,8,44,9],[45,5,45,7],[45,8,45,9],[33,1,33,9],[34,1,34,9],[35,1,35,9],[39,1,39,10],[40,1,41,4],[40,5,40,7],[40,8,40,9],[41,5,41,7],[41,8,41,9],[36,1,38,4],[36,5,36,9],[37,5,37,9],[38,5,38,9],[19,5,19,9],[15,1,15,10],[14,1,14,4],[14,5,14,9],[7,1,7,4],[7,5,7,9],[8,1,8,4],[8,5,8,9],[9,1,9,10],[10,1,10,4],[10,5,10,9],[1,1,1,10],[11,1,11,4],[11,5,11,9],[12,1,12,4],[12,5,12,9],[2,1,2,10],[4,1,4,3],[4,4,4,10],[6,1,6,4],[6,5,6,9]]}
[]
[null,"Section 6 - Evidence of energy savings - Lighting for roads and public spaces"]
[null,"Please use the following checklist to confirm that you have collected sufficient supporting evidence for your Lighting Upgrade."]
[]
[null,"Installation's location details:  "]
[]
[null,"General requirements",null,null,null,"Evidence type\n(Select the relevant documents for each requirement)",null,null,null,null,"Attached"]
[null,"Nomination of Energy Savings (if ACP is not the OES)",null,null,null,"Mandatory: Nomination Form "]
[null," Implementation date",null,null,null,"Please choose from the drop down list"]
[null,"Purchaser (Original Energy Saver - OES):"]
[null,"1. Co-payment requirement, and",null,null,null,"Please choose from the drop down list"]
[null,"2. Beneficiary of the use of the lighting equipment at the site",null,null,null,"Nomination Form "]
[null,"Energy savings calculations",null,null,null,"Please choose from the drop down list"]
[]
[null,"Calculation parameters evidence requirements",null,null,null," Evidence type\n(Select the relevant documents for each requirement)",null,null,null,null,"Attached"]
[null,"Baseline Determination (For lighting for roads and public sapces you must use Equation 7)"]
[null,"Document(s) showing that the design of the Lighting Upgrade for the road and/or public space has to be within the scope of the AS/NZS 1158 for pedestrian areas (Category P)  and/or vehicular traffic (Category V) lighting purposes (e.g. a Council or Public Authority contract)."]
[]
[]
[null,"Calculation parameters evidence requirements",null,null,null," Evidence type\n(Select the relevant documents for each requirement)",null,null,null,null,"Attached"]
[null,"Equipment class and LCP"]
[null,"Pre-implementation equipment class (Please provide 1 or a combination of evidence types) Post-implmentation equipment class (Please provied 1 or a combination of evidence types)",null,null,null,"Please choose from the drop down list"]
[null,null,null,null,null,"Please choose from the drop down list"]
[null,"For the upgraded equipment class “Lighting for Roads and Public Spaces or traffic signals (other than LED lighting)”:"]
[null,"For standard equipment classes listed in Table A9.1 of the ESS Rule,  provide one additional mandatory document ",null,null,null,"Mandatory: Evidence that the equipment meets the relevant requirements of the AS/NZS 1158.6 – Luminaires Standard (e.g. manufacturers datasheet, manufacturer/supplier declaration substantiated by reference to appropriate test reports from a laboratory that is accredited by NATA or IANZ or an overseas laboratory that is accredited under a mutual recognised agreement with either of these bodies."]
[null,null,null,null,null,"Please choose from the drop down list"]
[null,null,null,null,null,"Please choose from the drop down list"]
[null,"For other equipment classes listed in table A9.3 of the ESS Rule, provide 2 additional mandatory documents",null,null,null,"Mandatory: IPART acceptance letter for the lighting equipment listed in table A9.3 of the ESS Rule (ELT approval letter)."]
[null,null,null,null,null,"Mandatory: Evidence that the equipment meets the relevant requirements of the AS/NZS 11.58.6 – Luminaires Standard"]
[null,null,null,null,null,"Please choose from the drop down list"]
[null,null,null,null,null,"Please choose from the drop down list"]
[null,"For the upgraded equipment class “LED Luminaire - Street Lighting - For LED Street/Public lighting)”"]
[null,"Mandatory: IPART acceptance letter for the LED luminaire (ELT approval letter)."]
[null,"Mandatory: Evidence that the equipment meets the relevant requirements of either IEC 60598.2.3 - Particular Requirements - Luminaires for road and street lighting or AS/NZS 60598.1.1 + AS/NZS 1158.6 – Luminaires"]
[null,"Please choose from the drop down list"]
[null,"Please choose from the drop down list"]
[null,"If the upgrade involved the modification to fluorescent luminaires to accommodate LED Tubes (only those LED Tubes submitted to IPART for acceptance prior to 1 July 2014 and subsequently accepted can be installed in a ‘Modified Luminaire – LED Linear lamp’). Provide 2 addtional mandatory and 1 supporting documents. ",null,null,null,"Mandatory: IPART acceptance letter for the LED linear lamp."]
[null,null,null,null,null,"Mandatory: CCEW signed by the relevant licensed electrician."]
[null,null,null,null,null,"Please choose from the drop down list"]
[null,"Lamp Quantities"]
[null,"Pre-implementation (1 mandatory and 1 supporting document)",null,null,null,"Mandatory:",null,null,"Lighting Diagram"]
[null,null,null,null,null,"Supporting (Select 1 of the following):",null,null,"Please choose from the drop down list"]
[null,"Post-implementation (1 mandatory and 1 supporting document)",null,null,null,"Mandatory:",null,null,"Lighting Diagram"]
[null,null,null,null,null,"Supporting (Select 1 of the following):",null,null,"Please choose from the drop down list"]
[null,"Lighting Control Systems",null,null,null,"Mandatory:",null,null,"Lighting Diagram"]
[null,null,null,null,null,"Supporting (Select 1 of the following):",null,null,"Please choose from the drop down list"]
[null,"Lifetime of upgraded lamps (Lamp-only replacements)",null,null,null,"Please choose from the drop down list"]
[]
[null,"Other Specific Evidence Requirements",null,null,null," Evidence Type\n(Select the relevant documents for each General Requirement)",null,null,null,null,"Attached"]
[null,"AS/NZS 1158 Compliance",null,null,null,"Mandatory for all road and public spaces lighting upgrades: Declaration of compliance with AS/NZS 1158  (Evidence Pack Section 5)",null,null,null,null,"    yes        or N/A"]
[null,"For vehicular traffic (Category V) lighting upgrades",null,null,null,"Mandatory: the relevant documentation specified in is specified in Appendix D of AS/NZS 1158.1.1. At a minimum, a statement signed by the appropriate qualified person responsible for producing the design with qualifications satisfying the client and any regulatory requirements.",null,null,null,null,"    yes        or N/A"]
[null,null,null,null,null,null,null,null,null,null,null,"   "]
[null,"For pedestrian area (Category P) including pedestrian crossings (Category PX) lighting upgrades",null,null,null,"Mandatory: the relevant documentation specified in is specified in Appendix E of AS/NZS 1158.3.1 or Appendix D of AS/NZS 1158.4 (Pedestrian Crossings). At a minimum, a statement signed by the appropriate qualified person responsible for producing the design with qualifications satisfying the client and any regulatory requirements.",null,null,null,null,"    yes        or N/A"]
[]
[null,"For either of the above, please attach the relevant training evidence to your Pack.",null,null,null,null,null,null,null,null,"    yes        or N/A"]
[null,"If the Lighting Upgrade is outside AS/NZS 1158 scope,  you must provide evidence that you have applied to the Scheme Administrator for the use of a different benchmark and that this has been approved."]
[null,"Electrical Compliance",null,null,null,"Mandatory for all upgrades: Certificate of Compliance - Electrical Work (CCEW)"]
[null,"Lighting for roads and public spaces classification and Annual Operating Hours",null,null,null,"Mandatory for all upgrades: Documentation evidence that the design of the Lighting Upgrade is within the scope of the AS/NZS 1158. This documentation could be, for example, a contract with a Council or the local traffic authority."]
[]
[null,"Once you have completed the checklist, please complete the declaration below, prior to registering ESCs from this Lighting Upgrade."]
[]
[null,"In regard to the Lighting Upgrade detailed in Section 1 of this Pack, I hereby declare that:"]
[]
[null,"\u0082","Appropriate enquiries have been made to confirm that the information provided in Sections 1, 2, 5, 6 and 7 of this Pack is correct and not misleading;"]
[null,"\u0082","The records required as evidence for this Lighting Upgrade have been collected, will be kept for at least 6 years, and are available for audit.  "]
[]
[null,"Note:"]
[null,"\u0082","Section 158 of the Electricity Supply Act 1995 imposes a maximum penalty of $11,000 and/or six (6) months imprisonment for knowingly providing false or misleading information to the Scheme Administrator"]
[]
[]
[null,"\u0082","Section 138 of the Electricity Supply Act 1995 imposes a maximum penalty of $220,000 for failure to comply with a condition of accreditation and may additionally result in the suspension or cancellation of the Accredited Certificate Provider’s accreditation under clause 95 of the Electricity Supply (General) Regulation 2001"]
[]
[]
[]
[]
[null,"Signed by the nominated Accredited Certificate Provider"]
[null,"Signature:"]
[null,"Name of signatory:",null,"     "]
[null,"Position within, and company name of, your business or employer:",null,"     "]
[null,"Name of ACP:",null,"     "]
[null,"Date:",null,"     "]

{"sheet":"Section 7-All Upgrades","index":6,"n_rows":23,"n_cols":22,"rows_kept":23,"cut":false,"hidden":false,"merged":[[20,1,20,11],[17,1,17,3],[14,1,14,3],[5,1,5,4],[18,1,18,3],[17,4,17,7],[18,4,18,7],[9,1,9,2],[9,3,9,11],[8,3,8,6],[14,8,14,9],[14,10,14,11],[11,3,11,11],[11,1,11,2],[13,1,13,11],[10,10,10,11],[0,1,4,11],[14,4,14,7],[7,1,7,5],[8,1,8,2],[8,8,8,9],[10,1,10,2],[10,3,10,7],[10,8,10,9]]}
[null," Evidence and Certificate Registration Package\nCommercial Lighting Formula - Single Implementation Coversheet"]
[]
[]
[]
[]
[null,"Section 7 - Data submission"]
[]
[null,"Section 7.1 - ACP Details"]
[null,"ACP Name:",null,null,null,null,null,"ACP ID:",null,null,"ABN:"]
[null,"RESA NAME"]
[null,"RESA ID",null,null,null,null,null,null,"Accreditation Date"]
[null,"Methodology",null,"Deemed Energy Savings clause 9.4 - Commercial Lighting Energy Savings Formula"]
[]
[null,"Section 7.2 - Energy Savings "]
[null,"Energy Savings (in MWh)",null,null,{"$f":"M24","v":0},null,null,null,"Energy Savings Certificates",null,{"$f":"ROUNDDOWN($E$15*1.06,0)","v":0}]
[]
[null,"Section 7.3 - Certificate Registration Details"]
[null,"Registration Reference Number"]
[null,"Registration Date"]
[]
[null,"Section 7.4 - Implementation "]
[]
[null,"Implementation Identifier","Implementation Date","Implementation Address Line 1\n( Unit / Shop / Level , Unit Type )","Implementation  Address Line 2 \n( Street No , Street Address )","Suburb","State","Postcode","End-User ABN \n(if known)","End-Use Service (if known)","End-User Business Classification\n (if known)","Purchase Cost (Excluding GST)","Energy Savings (MWh)","Nomination Form Number","Purchaser  Business Name","Purchaser Representative -First Name","Purchaser Representative - Last Name","Purchaser  Phone Number","Implementation Address  NMI","Installation Company","Installer  License Number","Equipment Description"]

{"sheet":"Tables various (2b hide)","index":7,"n_rows":66,"n_cols":8,"rows_kept":66,"cut":false,"hidden":true,"merged":[]}
[]
[]
[null,"A Agriculture, Forestry and Fishing",null,"End-Use Services",null,"Space Type",null,"Building Classification"]
[null,"B Mining",null,"Air heating and cooling",null,"Auditorium, church and public hall",null,"BCA Class 2 buildings (Common Areas)"]
[null,"C Manufacturing",null,"Air handling, fans, ventilation",null,"Board room and conference room",null,"BCA Class 3 buildings (Common Areas)"]
[null,"D Electricity, Gas, Water and Waste Services",null,"Water heating",null,"Carpark – general (undercover)  and Car Park - entry zone (first 20 m of travel)",null,"BCA Class 3 buildings (other than Common Areas)"]
[null,"E Construction",null,"Water/liquid pumping",null,"Carpark – general (open air)",null,"BCA Class 5 buildings"]
[null,"F Wholesale Trade",null,"Refrigeration and freezing",null,"Common rooms, spaces and corridors in a Class 2 building",null,"BCA Class 6 buildings"]
[null,"G Retail Trade",null,"Lighting",null,"Control room, switch room, and the like",null,"BCA Class 7 buildings"]
[null,"H Accommodation and Food Services",null,"Cooking",null,"Corridors",null,"BCA Class 7 (a) buildings (open air car parks)"]
[null,"I Transport, Postal and Warehousing",null,"Home entertainment",null,"Courtroom",null,"BCA Class 7 (a) buildings (undercover car parks)"]
[null,"J Information Media and Telecommunications",null,"Computers, office equipment",null,"Dormitory of a Class 3 building used for sleeping only or sleeping and study",null,"BCA Class 8 buildings (other than ANZSIC Division C, Manufacturing)"]
[null,"K Financial and Insurance Services",null,"Communications",null,"Entry lobby from outside the building",null,"BCA Class 8 buildings (ANZSIC Division C, Manufacturing)"]
[null,"L Rental, Hiring and Real Estate Services",null,"Cleaning, washing",null,"Health-care - children's ward, examination room, patient ward, all patient care areas including corridors where cyanosis lamps are used",null,"BCA Class 9a and 9c buildings"]
[null,"M Professional, Scientific and Technical Services",null,"Process heat",null,"Kitchen and food preparation area",null,"BCA Class 9b buildings"]
[null,"N Administrative and Support Services",null,"Air compression",null,"Laboratory - artificially lit to an ambient level of 400 lx or more",null,"BCA Class 10b buildings"]
[null,"O Public Administration and Safety",null,"Process drives",null,"Library - stack and shelving area,  reading room and general areas",null,"Roads and Public Spaces"]
[null,"P Education and Training",null,"Milling, mixing, grinding",null,"Lounge area for communal use in a Class 3 building or Class 9c aged care building",null,"Traffic Signals"]
[null,"Q Health Care and Social Assistance",null,"Transport",null,"Maintained Emergency Lighting"]
[null,"R Arts and Recreation Services",null,"People movement, lifts, escalators",null,"Museum and gallery - circulation, cleaning and service lighting"]
[null,"S Other Services",null,"Materials handling, conveying",null,"Office"]
[null,"Residential",null,"Other machines",null,"Plant room"]
[null,"Unknown",null,"Electricity supply",null,"Restaurant, café, bar, hotel lounge and a space for the serving and consumption of food or drinks"]
[null,null,null,"Unknown",null,"Retail space including a museum and gallery whose purpose is the sale of objects"]
[null,null,null,"Other End-Use Services as Published by the Scheme Administrator",null,"School - general purpose learning areas and tutorial rooms"]
[null,null,null,null,null,"Sole-occupancy unit of a Class 3 building"]
[null,null,null,null,null,"Sole-occupancy unit of a Class 9c aged care building"]
[null,null,null,null,null,"Storage with shelving no higher than 75% of the height of the aisle lighting"]
[null,null,null,null,null,"Storage with shelving higher than 75% of the height of the aisle lighting"]
[null,null,null,null,null,"Service area, cleaner's room and the like"]
[null,null,null,null,null,"Toilet, locker room, staff room, rest room and the like"]
[null,null,null,null,null,"Wholesale storage and display area"]
[null,null,null,null,null,"Other spaces not defined above"]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,"Equipment Class",null,"Control Gear"]
[null,null,null,"T8 or T12 linear fluorescent Lamp or T8(T9) or T12 circular fluorescent Lamp",null,"Magnetic ballast"]
[null,null,null,"T5 linear fluorescent Lamp or T5 circular fluorescent Lamp",null,"Electronic ballast "]
[null,null,null,"Compact fluorescent Lamp with non-integrated ballast (CFLn)",null,"Magnetic ballast (reactor type)"]
[null,null,null,"Compact fluorescent Lamp with integrated ballast (CFLi)",null,"Magnetic ballast (constant wattage type)"]
[null,null,null,"Tungsten halogen Lamp (240V)",null,"Magnetic transformer"]
[null,null,null,"Tungsten halogen Lamp (ELV) or Infrared coated (IRC) halogen Lamp (ELV)",null,"Electronic transformer"]
[null,null,null,"Metal halide Lamp",null,"Integrated"]
[null,null,null,"Mercury vapour Lamp"]
[null,null,null,"High pressure sodium (HPS) Lamp",null,"Control System"]
[null,null,null,"Lighting for roads and public spaces or traffic signals (other that LED lighting).",null,"Occupancy Sensor"]
[null,null,null,"LED Lamp Only – ELV",null,"Daylight-Linked Control"]
[null,null,null,"LED Lamp Only –  240V Self Ballasted",null,"Programmable Dimming"]
[null,null,null,"Induction Luminaire",null,"Manual Dimming"]
[null,null,null,"LED Lamp and Driver",null,"Multiple Control Systems"]
[null,null,null,"Modified Luminaire –LED Linear Lamp",null,"Voltage Reduction Units (VRU)"]
[null,null,null,"LED Luminaire – fixed type"]
[null,null,null,"LED Luminaire – Linear Lamp"]
[null,null,null,"LED Luminaire – floodlight"]
[null,null,null,"LED Luminaire – recessed",null,"Air-conditioning system"]
[null,null,null,"LED Luminaire – high/lowbay",null,"Yes"]
[null,null,null,"LED Luminaire – Streetlight",null,"No"]
[null,null,null,"LED Luminaire – emergency lighting"]
[null,null,null,"LED Luminaire – hospital use"]
[null,null,null,"Other Emerging Lighting technology"]

{"sheet":"evidence tables (2b hide)","index":8,"n_rows":123,"n_cols":4,"rows_kept":123,"cut":false,"hidden":true,"merged":[]}
[]
[]
[null,"General Requirements","Please choose from the drop down list"]
[null,"Implementation Address and Implementation Date","Certificate Of Compliance -Electrical Work"]
[null,null,"Tax Invoice"]
[null,null,"Contractor Completion/ Commissioning Report"]
[]
[]
[]
[]
[null,null,"Please choose from the drop down list","Please choose from the drop down list"]
[null,"Original Energy Saver (Co-payment requirment)","Tax Invoice","Tax Invoice"]
[null,null,"Sales Ledger","Contract with a Council or Local Authority"]
[null,null,null,"Sales Ledger"]
[]
[null,"Nominated Energy Saver","Nomination Form"]
[]
[null,null,"Please choose from the drop down list"]
[null,"Energy Savings Calculations","IPART Commercial Lighting Calculation Tool"]
[null,null,"Own calculation tool"]
[]
[]
[null,"Calculation Parameter Evidence Requirements"]
[]
[null,"Baseline Determination","BCA Declaration"]
[null,null,"Lighting Diagram"]
[null,null,"Documentation showing BCA approval number and date of issue"]
[null,null,"IPD calculations to support the use of equation 7"]
[]
[null,"Lamp Type and Nominal Lamp Power","Please choose from the drop down list"]
[null,"Pre-Implementation","Geo-tagged photos"]
[null,null,"Asset Register"]
[null,null,"Lighting Diagram"]
[null,null,"Disposal Receipt"]
[null,null,"CCEW"]
[]
[null,null,"Please choose from the drop down list","Please choose from the drop down list"]
[null,"Post-Implementation","Geo-tagged photos","Geo-tagged photos"]
[null,null,"Manufacturer Datasheet","Manufacturer Datasheet"]
[null,null,"Lighting Diagram","Lighting Diagram"]
[null,null,"Tax Invoice","Tax Invoice"]
[null,null,"As Built Lighting Model/Drawing","CCEW"]
[null,null,"Laboratory Test Report"]
[null,null,"Registered Information"]
[null,null,"CCEW"]
[]
[null,"Control Gear (Ballasts/Transformers)","Please choose from the drop down list"]
[null,"Pre-Implementation","Geo-tagged photos"]
[null,null,"Asset Register"]
[null,null,"Lighting Diagram"]
[null,null,"Disposal Receipt"]
[null,null,"CCEW"]
[]
[null,null,"Please choose from the drop down list"]
[null,"Post-Implementation","Geo-tagged photos"]
[null,null,"Manufacturer Datasheet"]
[null,null,"Lighting Diagram"]
[null,null,"Tax Invoice"]
[null,null,"CCEW"]
[null,"Lamp Quantities"]
[null,"Pre-Implementation"]
[null,"Required Document:","Lighting Diagram"]
[]
[null,null,"Please choose from the drop down list","Please choose from the drop down list"]
[null,"Supporting Documents:","Asset Register","Asset Register"]
[null,null,"Geo-tagged Photos (only for small upgrades)","Disposal Receipt"]
[null,null,"Disposal Receipt","CCEW"]
[null,null,"CCEW"]
[]
[null,"Post-Implementation"]
[null,"Required Document:","Lighting Diagram"]
[]
[null,null,"Please choose from the drop down list","Please choose from the drop down list"]
[null,"Supporting Documents:","Geo-tagged photos (only for small upgrades)","Tax invoice"]
[null,null,"Tax invoice","CCEW"]
[null,null,"CCEW"]
[]
[null,"Lighting Control Systems"]
[null,"Required Document:","Lighting Diagram"]
[]
[]
[null,null,"Please choose from the drop down list"]
[null,"Supporting Documents:","Geo-tagged photos"]
[null,null,"CCEW"]
[null,null,"Manufacturer Datasheet"]
[]
[null,null,"Please choose from the drop down list"]
[null,"Air Conditioning","Geo-tagged photos"]
[null,null,"Lighting Diagram"]
[null,null,"HVAC Plan"]
[]
[null,null,"Please choose from the drop down list"]
[null,"Lifetime of Upgraded Lamps","Manufacturer Datasheet"]
[null,null,"Laboratory Test Report"]
[null,null,"Registered Information"]
[]
[]
[null,"Other Specific Evidence Requirements"]
[]
[null,"AS/NZS 1680 Compliance"]
[null,"Required Document:","AS1680 Declaration (Evidence Pack Section 3)"]
[]
[null,null,"Please choose from the drop down list"]
[null,"Category A Supporting Documents:","AS/NZS 1680 Design Documents"]
[null,null,"Commissioning Declaration"]
[]
[null,null,"Please choose from the drop down list"]
[null,"Category B Supporting Documents:","Illumination Measurements"]
[null,null,"Lighting Diagram"]
[]
[null,"Electrical Compliance","Certificate of Compliance – Electrical Work"]
[]
[null,"Space Type, BCA classification and Annual Operating Hours"]
[]
[null,"Emerging Lighting Technology or Special Lamp Circuit Power"]
[]
[null,"Emerging Lighting Technology","ELT Approval Letter(s)"]
[]
[null,"Special Lamp Circuit Power","LCP Approval Letter(s)"]
[]
[null,"Modified Luminaires","Please choose from the drop down list"]
[null,null,"Declaration from the relevant licensed electrician that the modifications were performed in accordance with the guidelines provided in ERAC Information Bulletin 'Safety of T8 Lamp Replacement Tubes and Modified Luminaires'."]
[null,null,"Certificate of Suitability for the Modified Luminaire."]