## Instructions & Version Control
Instructions
1. Complete the summary fields and table in the Application Details tab
This part of the form includes details of the applicant, the manaufacturer and the number and type of products. It also includes sections to reconcile any prototypes and differences in brands/model numbers between your application and test reports.
2. Complete the Product Details tab
This part of the form should include the details of all supporting documents and values for each product that is part of your application.
3. Review the TESSA Data Table tab
Check the values in the TESSA Data Table tab are correct. This table is auto-populated from the Product Details tab. You can not edit the values in this tab.
4. Complete the declaration and authorisation in the Application Details tab
Once you are satisfied the Product Details and TESSA Data Table are correct and complete, tick the declaration and authorisation box.
5. Submit your application in TESSA
Copy the data from the TESSA Data Table into the relevant fields in TESSA. Attach all supporting documents in TESSA that you have listed in this form and submit when satisfied your application is complete and correct.
Note: You may include up to 4 model numbers per application for products that have unique modelling, and up to 8 model numbers for products that share modelling. Related products can be one of the following: 1. Have the same characteristics, modes and control settings (evidence documents shared across all products). • different branding with no technical differences • different cosmetic/physical variations (e.g. finishing paint material) with no impact on energy performance • one variant with booster and one without (element off) 2. Have the same components (stand-alone systems only). • same heat pump but different tanks/number of tanks (shared AS/NZS 5125 report) • same tank model (shared AS/NZS 4692 report).
Document version control:
Version | Notes | Date
1 | First release of new application form for acceptance of hot water systems in HEER | 2026-08-13
1.1 | Amendments to protected cells and minor formatting changes | 2026-08-28

## Application Details
Instructions
1. Complete the fields below and ensure the information matches what you have provided in the Product Details tab.
2. Ensure the original equipment manufacturer is the name of the company that manufactures the product(s).
3. Fill in the blue reconciliation cells only if the test report lists a different brand or model number. Write the test report brand/model number in that row.
If there are no differences, leave it blank.
If further explanation to explain model naming is required, please attach additional documents to your application
4. Complete the blue cells in column T if a prototype was tested in any of the provided test reports to confirm that the product tested
is the same product to be installed. If no prototypes were tested, leave the cells blank.
5. The declaration and authorisation below must be made by an authorised signatory (as designated in your TESSA account).
(If the applicant is not the original equipment manufacturer, the applicant has a legal duty to exercise due diligence and
confirm the provided information in these forms are correct. The applicant is responsible to abide by the relevant laws,
including and not limited to the NSW Energy Savings Scheme Rule of 2009, in their business.)
TESSA Account/Applicant Name:
Product Type: |  |  |  | Make Selection
Original Equipment Manufacturer:
Application for State: |  |  |  | Make Selection
Number of products: |  |  |  | Make Selection
System type: |  |  |  | Make Selection
Relationship between products:
NOTE: ensure all products in your application are related products as defined in the Instructions & Version Control tab. We may ask you to withdraw and resubmit your application if your products are not grouped appropriately.
Products in this application
|  |  | Brand(s) |  |  |  | System Model Number(s) | Heat pump model number | Tank model number | For prototypes tested, list the test report number(s)
By ticking the box below, I hereby declare that:
· | I am authorised by the applicant named above to make this application and sign this declaration on its behalf.
· | I have read and understood the information and requirements set out in the relevant application guide (Guide - Water Heater Product
Acceptance – HEER) and I have checked that the information I have provided in the application meets the requirements of the relevant
activity definition.
· | The information contained in this application is complete, true and correct and not misleading by inclusion or omission.
· | I agree to provide information, assistance, and access to IPART as the Scheme Administrator (or persons appointed by the Scheme
Administrator) for the purposes of assessment, monitoring and auditing compliance.
· | I am aware that there are penalties for providing false or misleading information to IPART as Scheme Administrator of the Energy Savings Scheme.
· | I have checked the values provided in this application form match the values in the supporting documents.
· | The product brands and model numbers in the application and those included in the supplied test reports as listed in the table above,
have the same design, construction and performance.
· | I have attached additional documents if further explanation for any differences between models is required.
· | The tested prototype products in the provided test reports have the same design, construction and performance as the final production
units of the listed models that will be installed under the Energy Savings Scheme.
By ticking the box below, I hereby authorise IPART to:
· | Collect, copy, record, use or disclose any of the information provided in the application relevant to this application for the purposes of
assessing and making a decision on the application, auditing, compliance, and enforcement of laws, the performance of
IPART’s statutory functions and for related purposes, subject to requirements of relevant laws.
· | Contact the administrator of any government scheme or program to obtain information on the applicant’s products and performance in
that scheme or program, and I understand that information will form part of the product application assessment.
· | Disclose the contents of this application to:
| · | another government agency (in NSW or another jurisdiction) which is involved in the administration of a
program similar to the NSW Energy Security Safeguard; and
| · | any IPART personnel or consultants who need access for the purpose of executing IPART’s legislative functions.
Clauses 61 and 130 of Schedule 4A to the Electricity Supply Act 1995 impose a maximum penalty of $11,000 and/or 6 months
imprisonment for knowingly providing false or misleading information to the Scheme Administrator.
By ticking this box I |  | (insert TESSA authorised signatory's full name) |  |  | on behalf of | (insert applicant name) |  | declare and authorise the matters listed above |  | FALSE

## Product Details
Instructions
1. Complete the relevant sections of the form. Unhide columns M-P if your application includes more than 4 products.
2. Ensure you only have up to a total of 4 unique sets of TRYNSYS modelling files between all products in your application.
3. Before submitting in TESSA, ensure you have attached all documents listed in the table below and that the documents are named in accordance with Section 2.7 of the Guide.
Note
It is your responsibility to conduct quality assurance on your application to ensure consistency and accuracy across documents and the completed fields in TESSA.
If there are significant inconsistencies across your documents and the values entered in TESSA we will reject your application.
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Item | Document Type | Number of files you are providing in your application | Key requirements to check (refer Guide for all requirements) | Requirements Declaration | TESSA data export values | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Document Notes / Comments
1 | AS/NZS 2712 Certificate | Select one | 1. Must exactly match the brand name(s) and model number(s) listed in the Application Details Tab for the product being applied for. 2. Most recent version. 3. Expiry date. | Make Declaration | Expiry date
2 | AS/NZS 5125 Report (Heat pump water heaters only) | Select one | 1. Includes the brand and models in this application. If not, this has been reconciled in the Application Details tab or 2712 certificate for split systems. 2. Must be digitally verifiable via a valid signature panel in Adobe. If there are any errors in the signature panel or the report does not include a completed signature panel, include a validation email from the laboratory. 3. Must include COP and power graphs. 4. COP and Power Coefficient match the 4234 report (if provided) and TRNSYS Dck files. | Make Declaration | Heat pump unit model number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Refrigerant type (GWP)
Refrigerant charge (kg)
[5 empty] | System booster type | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one
Booster model number
a0 (COP Coeffic. 0)
a1 (COP Coeffic. 1)
a2 (COP Coeffic. 2)
a3 (COP Coeffic. 3)
p0 (Power Coeffic. 0)
p1 (Power Coeffic. 1)
p2 (Power Coeffic. 2)
p3 (Power Coeffic. 3)
3 | AS/NZS 4692 Report (Not required for solar water heaters) | Select one | 1. Must be digitally verifiable via a valid signature panel in Adobe. If there are any errors in the signature panel or the report does not include a completed signature panel, include a validation email from the laboratory. 2. Covers the brand and models applied for. If not, this has been reconciled in the Application Details tab or 2712 certificate for split systems. 3. Tank model number and size matches data plate and 4234 report (if provided). | Make Declaration | Tank Model Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tank Size (L)
4 | Product Manual | Select one | 1. Covers the brand name and model numbers in this application. 2. The default operating mode, temperature set points, legionella control and temperatures are consistent with the 4234 report and TRNSYS files. 3. Includes all information outlined in Section 2.4 of the guide. 4. Describes the system type and booster type (if applicable) and matches the 4234 report. | Make Declaration | Default operating mode
Default heat pump temperature set point
Default heat pump deadband
[5 empty] | Legionella control method | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one
[5 empty] | Can users change operating settings? | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one
[5 empty] | Do settings revert to factory default? | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one
N/A if no selected for above. If yes to the check above, how often do the setting revert to factory default?
[5 empty] | Does the manual clearly explain the legionella control method for long shutdown periods? | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one
5 | TRNSYS files | Select one based on the sets of modelling | 1. Must provide the TRNSYS modelling for each zone and each unique product model. Each zone requires a separate .Ist, .dck and .out file. 2. Frosting penalty calculation in one .dck file and one .out file. (Not required for solar water heaters) | Make Declaration | Collate all required TRNSYS files for each unique product model. Confirm total number of TRNSYS files you will be submitting for each product in the cells I50-L50. | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one
6 | TRNSYS Dck file for Z3 & Z5 | Select one | 1. Correct templates have been used and no changes have been made to the standard text. 2. Type 104 has been used for Integrated heat pumps and Type 60 for Stand-alone. 3. Setpoint values (for heat pump and booster) and legionella control method matches the manual. 4. COP and Power Coefficients, Frosting Penalty (FP1), Auxiliary booster (Taux) (if there is a booster) and Initial frosting temperature (Tifr) matches 5125 report and 4234 report (if applicable). | Make Declaration | Does the product have an electric booster? | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one
Electric booster set point
Electric booster deadband
At what temperature does the electric booster operate?
[5 empty] | For weekly legionella control, is the temperature sensor located at the bottom of the tank and is this reflected in the Dck files and tank diagram? | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one
[5 empty] | Model number, Load size and Type number correct | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one
[5 empty] | TSET_HP, TDB_HP and TSan-HP matches the manual and 4234 (if provided) | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one
FP1 value
Taux
Tifr
7 | TRNSYS Out file for Z3 & Z5 | Select one | 1. The following values must be consistent with the 4234 report (if provided): - Zone 3 Annual Energy Savings % (confirm ≥ 60%) - Zone 3 Bs (GJ/year) - Zone 3 Be (GJ/year) - Zone 5 System Size - Zone 5 Annual Energy Savings % (confirm ≥ 60%) - Zone 5 Bs (GJ/year) - Zone 5 Be (GJ/year) 2. The legionella/sanitisation value must be 'san_fail = 0' and the Mindeltemp must be >45 degrees, including for the very small load size files (i.e. Load size =0). | Make Declaration | Zone 3 AS/NZS4234 version | 2021
[5 empty] | Zone 3 Load Size | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one
[5 empty] | Zone 3 Annual Energy Savings % | e.g enter 60% as 60
Zone 3 Bs (GJ/year)
Zone 3 Be (GJ/year)
[5 empty] | Zone 5 AS/NZS4234 version | 2021
[5 empty] | Zone 5 Load Size | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one
[5 empty] | Zone 5 Annual Energy Savings % | e.g enter 60% as 60
Zone 5 Bs (GJ/year)
Zone 5 Be (GJ/year)
[5 empty] | Do all files, including for the very small load, meet san_fail and mindeltemp requirements? | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one
[5 empty] | Is simultaneous booster operation allowed? | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one
8 | AS/NZS 4234 Report (not mandatory) | Select one | 1. Brand name(s), Model number(s) and System Type is correct. 2. Zone 3 & 5 annual energy savings, Bs and Be values matches TRNSYS Out files. 3. The COP and Power Coeffecients match AS/NZS 5125 report and TRNSYS Dck files. 4. Legionella settings, Set point temperature for heat pump, Frosting penalty (FP1) and Initial frosting temperature matches TRNSYS Dck files. | Make Declaration | If you have revised your TRNSYS modelling at any stage, have you included the correct 4234 report with consistent information? | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one
9 | Electrical safety (only required if the heat pump has a booster) | Select one | 1. It must exactly match the brand name(s) and model number(s) listed in the Application Details Tab for the product being applied for. 2. Most recent version. 3. Expiry date. | Make Declaration | Certificate number
10 | Tank diagram | Select one | 1. Brand name(s) and Model number(s) match values in this form. 2. Dimensioned inner tank drawing shows the: • Cold inlet and hot outlet positions • Element position (if fitted) • Control valves and flow meter if appropriate) • Heat exchanger dimensions and parameters (for integral type heat pumps) • Temperature sensor locations. | Make Declaration | Are all required components included? | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one
11 | Schematic of the system | Select one | The schematic diagram must include all relevant control valves and flow meter if appropriate, solar or heat pump flow and return pipes and temperature sensor location/s. | Make Declaration | Are all required components included? | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one
12 | Data Plate | Select one | 1. Data plates provided for each product. If the tank and heat pump are separate, provide one data plate for the heat pump and one for the tank. 2. Includes system booster type if applicable. Booster type and model number matches TRNSYS Dck files 5125 report and 4234 report (if provided). | Make Declaration | Booster and refrigerant details matches the 5125 and 4234 report (if provided) | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one
13 | AS/NZS 2535 or EN9806 report - for solar water heaters D18 & D20 only | Select one | 1. Model number and brand matches application or manufacturers declaration. 2. Must have verifiable digital signature. 3.The test report must include performance of solar collector, collector type, model number and irradiance value, number of collectors. | Make Declaration | Collector type | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one
Collector model number
No. of collectors
| Other (Provide details) |  |  | Make Declaration
| Other (Provide details) |  |  | Make Declaration

## TESSA Data Table
Instructions
The data in this table is auto-populated from the Product Details tab and can not be edited. Copy and paste data in this table to populate fields in TESSA.
For Solar Water Heaters Only (D18 and D20)
Product | Brand | Model no | AS/NZS4234 version | Zone 3 System Size | Zone 3 Annual Energy Savings % | Zone 3 Bs (GJ/year) | Zone 3 Be (GJ/year) | Zone 5 System Size | Zone 5 Annual Energy Savings % | Zone 5 Bs (GJ/year) | Zone 5 Be (GJ/year) | AS/NZS 2712 Certificate Expiry | Tank Model Number | Tank Size (L) | Heat pump unit model number | System Type | System booster type | Booster model number | Refrigerant type (GWP) | Refrigerant charge (kg) | Collector type | Collector model number | No. of Collectors
1 | 0 | 0 | 2021 | Select one | e.g enter 60% as 60 | 0 | 0 | Select one | e.g enter 60% as 60 | 0 | 0 | 0 | 0 | 0 | 0 | Make Selection | Select one | 0 | 0 | 0 | Select one | 0 | 0
2 | 0 | 0 | 2021 | Select one | 0 | 0 | 0 | Select one | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Make Selection | Select one | 0 | 0 | 0 | Select one | 0 | 0
3 | 0 | 0 | 2021 | Select one | 0 | 0 | 0 | Select one | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Make Selection | Select one | 0 | 0 | 0 | Select one | 0 | 0
4 | 0 | 0 | 2021 | Select one | 0 | 0 | 0 | Select one | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Make Selection | Select one | 0 | 0 | 0 | Select one | 0 | 0
5 | 0 | 0 | 2021 | Select one | 0 | 0 | 0 | Select one | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Make Selection | Select one | 0 | 0 | 0 | Select one | 0 | 0
6 | 0 | 0 | 2021 | Select one | 0 | 0 | 0 | Select one | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Make Selection | Select one | 0 | 0 | 0 | Select one | 0 | 0
7 | 0 | 0 | 2021 | Select one | 0 | 0 | 0 | Select one | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Make Selection | Select one | 0 | 0 | 0 | Select one | 0 | 0
8 | 0 | 0 | 2021 | Select one | 0 | 0 | 0 | Select one | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Make Selection | Select one | 0 | 0 | 0 | Select one | 0 | 0

## Control logic export table (hidden)
Control logic export table
Item | Control Logic | Product 1 | Product 2 | Product 3 | Product 4 | Product 5 | Product 6 | Product 7 | Product 8 | Document Notes / Comments
A1 | Default heat pump temperature set point | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
A2 | Default heat pump deadband | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
A3 | Does the product have an electric booster? | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one | 0
A4-A6 are only applicable if there is a booster element
A4 | Is simultaneous booster operation allowed? | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one | 0
A5 | Electric booster set point | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
A6 | Electric booster deadband | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| At what temperature does the electric booster operate? | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
A7 | Legionella control method | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one | 0
A8 | Can users change operation settings? | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one | 0
A9 | Do settings revert to factory default? | Select one | Select one | Select one | Select one | Select one | Select one | Select one | Select one | 0
A10 | N/A if no selected for above. If yes to the check above, how often do the setting revert to factory default? | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Data (DO NOT DELETE) (hidden)
Controller Declaration |  | Manufacturer Declaration |  | Document Index | Common Report | Prototype Testing Declaration
Product Type: |  | Product Type: |  | Make Selection | Yes
|  |  |  | Make Selection | No
Make Selection |  | Make Selection |  | AS/NZS 2712 Report
Electric boosted solar water heater (D18/D20) |  | Electric boosted solar water heater (D18/D20) |  | AS/NZS 4234 Report
Heat pump water heater (D17/D19) |  | Heat pump water heater (D17/D19) |  | AS/NZS 4692 Report
Gas or LPG boosted solar water heater (D21) |  | Commercial and industrial heat pump water heater (F16/F17) |  | ASNZS 5125 Report
Commercial and industrial heat pump water heater (F16/F17) |  |  |  | Data Plate
Dck file
Out file
Product Manual
electrical safety
Application for State: |  | Application for State: |  | Other (Provide detials)
Make Selection |  | Make Selection
NSW only |  | NSW only
VIC only |  | VIC only
NSW & VIC |  | NSW & VIC
All Evidence is consistent?
1. Product operation and control logic (complete applicable fields and provide details where required): |  | Required/Optional |  | Make Declaration
I declare that my documents meet all requirements
a) Heat pump type is: |  | Make Selection |  | I have provided a document and included an explanation in the comments (Column Q)
|  | Optional |  | Not required
Make Selection |  | Required
Integrated
Non-Integrated |  | sanitation check |  | Products
Make Selection
|  | Make Selection |  | 1
|  | Weekly |  | 2
|  | Daily |  | 3
c) Heat pump operation is controlled by: |  |  |  | 4
Make Selection |  | Make Selection
Hot water setpoint value |  | Yes |  | Make Selection
Set operating schedule |  | No |  | 0
Other (provide details below) |  |  |  | 1
2
3
|  | Number of TRNSYS files |  | 4
|  | Select one based on the sets of modelling |  | 5
e) Default temperature setpoint: |  | 6 (1 set, 1 zone, without FP) |  | 6
|  | 9 (1 set, 1 zone, with FP) |  | 7
Make Selection |  | 12 (1 set, 2 zones, without FP) |  | 8
Fixed (specify value in cell) |  | 15 (1 set, 2 zones, with FP
Other (provide details below) |  | 12 (2 sets, 1 zone, without FP)
18 (2 sets, 1 zone, with FP)
24 (2 sets, 2 zones, without FP)
30 (2 sets, 2 zones, with FP)
|  | 18 (3 sets, 1 zone, wihout FP) |  | Control logic declaration
f) Default temperature setpoint deadband: |  | 27 (3 sets, 1 zone, with FP) |  | Make Declaration
|  | 36 (3 sets, 2 zones, without FP) |  | I declare that the control logic meets the requirements listed (Column D)
Make Selection |  | 45 (3 sets, 2 zones, with FP) |  | I have provided a document and/or included an explanation in the comments (Column Q)
Fixed (specify value in cell) |  | 24 (4 sets, 1 zone, without FP)
Other (provide details below) |  | 36 (4 sets, 1 zone, with FP)
48 (4 sets, 2 zones, without FP)
60 (4 sets, 2 zones, with FP)
Number of Dck or Out files
2. Booster operation and control logic (complete applicable fields and provide details where required): |  | Select one
2
a) Product is equipped with a booster: |  | 4
6
Make Selection |  | 8
Electric element |  | 12
Gas/LPG |  | 16
None
b) Simultaneous operation of product and booster is:
Make Selection | Make Selection
Allowed (provide details below) | Allowed
Not allowed | Not allowed
Other (provide details below)
c) Booster operation is controlled by:
Make Selection
Hot water setpoint value
Set operating schedule (provide details below)
Other (provide details below)
d) Default temperature setpoint:
Make Selection
Fixed (specify value in cell)
Other (provide details below)
e) Default temperature setpoint deadband:
Make Selection
Fixed (specify value in cell)
Other (provide details below)
3) Legionella control:
a) Compliance to AS 3498 is achieved by:
Make Selection |  |  | Select one
Heating at least 45% of the stored water volume to at least 60°C for at least one single period of not less than 32 minutes daily |  |  | 45% to 60°C daily
Heating at least 90% of the stored water volume to at least 60°C for at least one single period of not less than 32 minutes in each 7-day period |  |  | 90% to 60°C Weekly
Other (provide details below) |  |  | Other (include details in Column Q)
Weekly legionella control temperature sensor location
Select one
Yes
c) User power: |  |  | No (include details in the comments section Column Q)
i) User changes to settings: |  |  | Not applicable
Could impact legionella control (provide details below)
Will not impact legionella contgrol (legionella control overrides any changes to operating mode/settings)
Other (provide details below)