## PDRS-Example-Template-CSV-Imple
ACP Implementation Identifier | Implementation Date | Address Line 1 ( Unit / Shop / Level, Unit Type ) | Address Line 2 ( Street No , Street Name ) | Suburb | State | Postcode | National Metering Identifier (NMI) | End-User Business Classification | ABN | End-Use Service | Purchase Cost (Excluding GST) | PDRS Activity Definition | PDRS Calculation Method | Number of units installed | Product Brand | Product Model Number | Refrigerant | New or Replacement | Product class of removed equipment | Product class of installed equipment | Peak demand reduction capacity (kW) | Network Factor | Version of The Rule | Company or individual responsible for work at site | Plumbing licence | Plumbing contractor licence | Electrician licence | Electrical contractor licence | Refrigerant handling licence | Refrigerant licence | SAA accreditation | Was an Inverter installed | Inverter Brand | Inverter Model Number | Is a Solar PV system connected? | Existing Inverter capacity (kW) | Existing Solar PV capacity (kW) | Exempt Energy Program or Government site | New Inverter capacity (kW) | New Solar PV capacity (kW) | Total Solar PV capacity (kW) | Total Inverter capacity (kW) | Multi split system
APC100117 | 2025-04-25 |  | 63 SAMPLE ST | LAKESLAND | NSW | 2572 | 43100629836 | Residential |  | Air heating and cooling | 772.73 | HVAC1 | Peak Demand Savings Capacity - Reducing Demand Using Efficiency Activity | 1 | Example Tech | ET117 | R410A | New |  |  | 23.01 | 1.04 | 2024-12-19 | All Around Installers Pty Ltd |  |  | 148798
APC100118 | 2025-04-20 | U 1 | 92 SPECIMEN AVE | ELDERSLIE | NSW | 2570 | 40014798500 | G Retail Trade | 76666395240 | Air heating and cooling | 331.82 | HVAC2 | Peak Demand Savings Capacity - Reducing Demand Using Efficiency Activity | 1 | Sample Co | SC118 | R32 | Replacement |  |  | 2.12 | 1.05 | 2024-12-19 | All Day Contractor Pty Ltd |  |  | 148798
APC100119 | 2025-02-12 |  | 95 DEMONSTRATION ST | CAMPBELLTOWN | NSW | 2560 | 30000578954 | G Retail Trade | 70670893580 | Refrigeration and freezing | 804.55 | RF2 - Classes 1 - 6, 9, 10 | Peak Demand Savings Capacity - Reducing Demand Using Efficiency Activity | 2 | Brand 1 | ES212-XP | R134a |  | 2 | 2 | 3.72 | 1.05 | 2024-12-19 | Quick Solutions Pty Ltd | 210032
ABC1219 | 2026-06-06 | SHOP 3C | 53-61 PRESENTATION ST | PIGGABEEN | NSW | 2486 | 25578987120 | G Retail Trade | 18714592959 | Refrigeration and freezing | 909.09 | RF2 - Classes 7, 8 and 11 < 3.3 | Peak Demand Savings Capacity - Reducing Demand Using Efficiency Activity | 1 | Brand 3 | ES213 | R134a |  | 8 | 8 | 8.23 | 1.05 | 2026-04-01 | AAA Group Pty Ltd | 210032
ABC1220 | 2026-06-07 |  | 32 MODEL AVE | WERRINGTON DOWNS | NSW | 2747 | 44810002317 | H Accommodation and Food Services | 70670893580 | Refrigeration and freezing | 890.91 | RF2 - Classes 7, 8 and 11 >= 3.3 | Peak Demand Savings Capacity - Reducing Demand Using Efficiency Activity | 1 | Brand 3 | ES214-XP | R134a |  | 7 | 7 | 2.77 | 1.05 | 2026-04-01 | Alliance Group Pty Ltd | 210032
IMPL0820 | 2026-06-14 |  | 10 FISHERS HILL RD | VACY | NSW | 2421 | 44318695712 | Residential |  | Water/liquid pumping | 1574.69 | SYS2 | Peak Demand Savings Capacity - Reducing Demand Using Efficiency Activity |  | Example Tech | ET117 |  |  |  |  | 23.13 | 1.04 | 2026-04-01 | Pool Pumps Express Pty Ltd
IMPL0821 | 2026-03-11 |  | 20 AVOCA CT | RED HEAD | NSW | 2430 | 40015487940 | Residential |  | Water/liquid pumping | 908.18 | SYS2 | Peak Demand Savings Capacity - Reducing Demand Using Efficiency Activity |  | Example Tech | ET117 |  |  |  |  | 21.89 | 1.05 | 2025-09-12 | Pool Pumps Express Pty Ltd
Battery-6337XC | 2025-08-15 | SHOP 3C | 53-61 PRESENTATION ST | PIGGABEEN | NSW | 2486 | 25578987120 | G Retail Trade | 18714592959 | Electricity Supply | 909.09 | BESS2 | Peak Demand Response Capacity - Household Annual Demand Response | [7 empty] | 52.85 | 1.05 | 2025-07-01 | AAA Group Pty Ltd
Battery-6338XC | 2025-12-12 |  | 742 EVERGREEN TERRACE | SPRINGFIELD | NSW | 2250 | 49321587235 | Residential |  | Electricity supply | 0 | BESS2 | Peak Demand Response Capacity - Household Annual Demand Response | [7 empty] | 14.31 | 1.04 | 2025-09-12 | VPPs R Us Ptd Ltd
XYZ0207321 | 2026-07-01 |  | 55B NUTLEYS CREEK RD | BERMAGUI | NSW | 2546 | 42040920825 | Residential |  | Electricity supply | 800.8 | BESS1 | Peak Demand Shifting Capacity - Store and Shift Capacity | 1 | Sigenergy | SigenStor-8S-24 (AS4777-2 2020) |  | New |  |  | 220.85 | 1.05 | 2026-07-01 | Best Installations Pty Ltd |  |  | 391157 | 391157C |  |  | S8996759 | Yes | Sigenergy | SigenStor-8S-24 (AS4777-2 2020) | Yes | 3 | 5 | government site | 4 | 6 | 11 | 7
BATT032026-001 | 2026-09-01 |  | 97 DISPLAY HWY | KEARNS | NSW | 2558 | 41115667220 | Residential |  | Electricity Supply | 1271.82 | BESS3 | Peak Demand Shifting Capacity - Store and Shift Capacity | 2 | Sigenergy | SigenStor-25T-EV25-26.1 (AS4777-2 2020) |  | New |  |  | 40.59 | 1.05 | 2026-07-01 | Trusted Contractors Pty Ltd |  |  | 914576 |  |  |  | S1861639 | Yes | Sigenergy | SigenStor-25T-EV25-26.1 (AS4777-2 2020) | Yes | 0 | 0 |  | 4 | 7 | 7 | 4
BATT032026-004 | 2026-09-01 | U 3 | 94 EXAMPLE PL | MOUNT ANNAN | NSW | 2567 | 25890010232 | Residential |  | Electricity Supply | 531.82 | BESS3 | Peak Demand Shifting Capacity - Store and Shift Capacity | 1 | Sigenergy | SigenStor-10T-24 (AS4777-2 2020) |  | New |  |  | 49.25 | 1.05 | 2026-07-01 | Omega Installers |  |  | 836538 | 227562C |  |  | S0708108 | No |  |  | No
BATT042026-002 | 2026-09-01 |  | 95 DEMONSTRATION ST | CAMPBELLTOWN | NSW | 2560 | 30000578954 | G Retail Trade | 70670893580 | Electricity Supply | 804.55 | BESS4 | Peak Demand Shifting Capacity - Store and Shift Capacity | 2 | Dyness | STACK100-13S |  | New |  |  | 28.2 | 1.05 | 2026-07-01 | Fast Solutions |  |  | 454940 | 293226C |  |  | S3801451 | Yes | Dyness | STACK100-13S | Yes | 5 | 0 |  | 10 | 16 | 16 | 10
BATT042026-003 | 2026-09-01 |  | 742 EVERGREEN TERRACE | SPRINGFIELD | NSW | 2250 | 32000564781 | Residential |  | Electricity Supply | 965.45 | BESS4 | Peak Demand Shifting Capacity - Store and Shift Capacity | 1 | AlphaESS | SMILE-BAT-13.3P |  | New |  |  | 49.47 | 1.05 | 2026-07-01 | Gamma Works Pty Ltd |  |  | 306382C | 329161C |  |  | S7017013 | No |  |  | No
BATT052026-003 | 2026-09-01 |  | 14 MATILDA AV | CLIFTON GROVE | NSW | 2800 | 40010172653 | Residential |  | Electricity supply | 22961.36 | BESS5 | Peak Demand Shifting Capacity - Store and Shift Capacity | 2 | PowerBatt | PB-174747-10000 kVA (AS4777-2 2020) |  | New |  |  | 207.28 | 1.05 | 2026-07-01 | Natural Solar Pty Ltd |  |  | 303157 |  |  |  | S6572937 | Yes | PowerBatt | PB-174747-10000 kVA (AS4777-2 2020) | Yes | 0 | 0 |  | 1500 | 2500 | 2500 | 1500
AHAC-01-21A-5 | 2026-07-01 | U 2 | 90 ILLUSTRATION RD | LEUMEAH | NSW | 2560 | 25890010232 | Residential |  | Air heating and cooling | 531.82 | HVAC1 | Peak Demand Savings Capacity - Reducing Demand Using Efficiency Activity | 1 | Example Tech | ET117 | R410A | New |  |  | 0.76 | 1.05 | 2026-07-01 | AirTech Group Pty Ltd |  |  | 248795 | [15 empty] | Yes