




Template: Battery Declaration
Purpose of this template
The purpose of the Battery Declaration is to confirm that the eligibility and implementation requirements for activity definitions BESS1, BESS3, BESS4 and BESS5 have been met. 
The Accredited Certificate Provider (ACP) must keep a copy of the relevant completed Battery Declaration for each implementation under these activity definitions as evidence that the eligibility and implementation requirements of the applicable activity definition have been met. This evidence will be checked at audit. See the PDRS Method Guide for further information.
ACPs must ensure the purchaser is provided with the ACP’s contact details and details of the complaints resolution process including contact details, as required by the requirements in the PDRS Method Guide (section 3.3.2).
Instructions for using this template
ACPs may use this template or develop their own declaration form based on the template.
To use this template, you must:
copy the wording of from the following pages into your own document. Do not use IPART or NSW Government logos in your document or marketing material,
delete the activities in the template that are not relevant.

BESS1 – Install a new battery energy storage system (single dwelling residential and small business) 
Installer and site details
	Name
	[Installer name]
	Business name
	[Business name of installer]
	ABN
	[Installer’s ABN]
	Phone number
	[Installer’s phone number]
	Site address
	[Address of the battery installation]
	Date installation completed
	[Date that the installation is completed]
	SAA accreditation number
	[Installer’s SAA accreditation number]
	License number
	[Installer’s license number]
	Certifications
	[Any additional certifications held by installer]

Installer declaration
I, [Installer name], hereby declare that:
I am the responsible installer who has performed the testing and commissioning of the battery energy storage system installed at the site above. 
There was no existing battery energy storage system at the same National Metering Identifier (NMI) before this battery was installed. 
The installation complies with the battery installation standard AS/NZS 5139, the Australian Wiring Rules (AS/NZS 3000) and any other applicable requirements.
I have provided all documentation that is required by the Standard to the Purchaser.
Where the battery is installed indoors, a working smoke alarm that meets AS 3786 has been fitted nearby, and I have tested that the smoke alarm is functional. 
The information I have provided is complete and accurate and I am aware that there are penalties for providing false or misleading information in this form.
Clause 130 of Schedule 4A to the Electricity Supply Act 1995 imposes a maximum penalty of $11,000 for knowingly providing false or misleading information to the Scheme Administrator.
	Name
	[Installer name]
	Signature
	[Installer to sign]
	Date signed
	[Date signed by installer]


Purchaser declaration
I, [Purchaser name], hereby declare that:
There was no existing battery energy storage system installed behind the electricity meter (National Metering Identifier) before the new battery system was installed.
A solar photovoltaic system is installed at the premises behind the same electricity meter (National Metering Identifier) as the new battery energy storage system.
I understand I’ll receive a completed copy of the nomination form within 7 days of the installation.
I have been provided with a copy of these contact details for the Accredited Certificate Provider I nominated as the capacity holder:

	ACP name (company)
	[Enter ACP name]
	Contact name
	[Enter contact name for ACP]
	Contact email
	[Enter contact email for ACP]
	Contact phone
	[Enter contact number for ACP]


I have been provided with a copy of the contact details below and understand the process for resolving complaints if I am not satisfied with my battery installation: 

	Name
	[Enter contact name for resolving complaints]

	Contact mail
	[Enter contact mail for resolving complaints]

	Contact email
	[Enter contact email for resolving complaints]

	Website (optional)
	[Enter website details]



Clause 130 of Schedule 4A to the Electricity Supply Act 1995 imposes a maximum penalty of $11,000 for knowingly providing false or misleading information to the Scheme Administrator.

	Signature
	[Purchaser to sign]

	Name
	[Purchaser’s name]

	Date signed
	[Date signed by Purchaser]



BESS3 – Install a new battery energy storage system (apartments) 
Installer and site details
	Name
	[Installer name]
	Business name
	[Business name of installer]
	ABN
	[Installer’s ABN]
	Phone number
	[Installer’s phone number]
	Site address
	[Address of the battery installation]
	Date installation completed
	[Date that the installation is completed]
	SAA accreditation number
	[Installer’s SAA accreditation number]
	License number
	[Installer’s license number]
	Certifications
	[Any additional certifications held by installer]

Installer declaration
I, [Installer name], hereby declare that:
I am the responsible installer who has performed the testing and commissioning of the battery energy storage system installed at the site above. 
An implementation of activity definition BESS3 has not previously been conducted at the site.
The battery energy storage system  was installed outdoors 
The installation site is an apartment building with at least 4 individual dwellings.
The battery energy storage system supplies electricity to common property loads and/or is capable of supplying electricity across multiple dwellings in the Apartment Building.
The installation complies with the battery installation standard AS/NZS 5139 (the Standard), the Australian Wiring Rules (AS/NZS 3000) and any other applicable requirements.
I have provided all documentation that is required by the Standard to the Purchaser.
The battery installation received all required planning and network approvals.
The information I have provided is complete and accurate and I am aware that there are penalties for providing false or misleading information in this form.
Clause 130 of Schedule 4A to the Electricity Supply Act 1995 imposes a maximum penalty of $11,000 for knowingly providing false or misleading information to the Scheme Administrator.
	Name
	[Installer name]
	Signature
	[Installer to sign]
	Date signed
	[Date signed by installer]


Purchaser declaration
I, [Purchaser name], hereby declare that:
There was no existing battery energy storage system installed behind the electricity meter before the new battery system was installed.
The installation Site is an apartment building with at least 4 individual dwellings.
The battery energy storage system supplies electricity to common property loads and/or is capable of supplying electricity across multiple dwellings in the Apartment Building.
Installation of the battery energy storage system received all required planning approvals.
I understand the Scheme Administrator of the Peak Demand Reduction Scheme or an auditor may request copies of the planning approvals.
I understand I’ll receive a completed copy of the nomination form within 7 days of the installation.
I have been provided with a copy of these contact details for the Accredited Certificate Provider I nominated as the capacity holder:

	ACP name (company)
	[Enter ACP name]
	Contact name
	[Enter contact name for ACP]
	Contact email
	[Enter contact email for ACP]
	Contact phone
	[Enter contact number for ACP]


I have been provided with a copy of the contact details below and understand the process for resolving complaints if I am not satisfied with my battery installation: 

	Name
	[Enter contact name for resolving complaints]

	Contact mail
	[Enter contact mail for resolving complaints]

	Contact email
	[Enter contact email for resolving complaints]

	Website (optional)
	[Enter website details]



Clause 130 of Schedule 4A to the Electricity Supply Act 1995 imposes a maximum penalty of $11,000 for knowingly providing false or misleading information to the Scheme Administrator.

	Signature
	[Purchaser to sign]

	Name
	[Purchaser’s name]

	Date signed
	[Date signed by Purchaser]


BESS4 – Install a new battery energy storage system (small and medium businesses) 
Installer and site details
	Name
	[Installer name]
	Business name
	[Business name of installer]
	ABN
	[Installer’s ABN]
	Phone number
	[Installer’s phone number]
	Site address
	[Address of the battery installation]
	Date installation completed
	[Date that the installation is completed]
	SAA accreditation number
	[Installer’s SAA accreditation number]
	License number
	[Installer’s license number]
	Certifications
	[Any additional certifications held by installer]

Installer declaration
I, [Installer name], hereby declare that:
I am the responsible installer who has performed the testing and commissioning of the battery energy storage system installed at the site above. 
The site is not a residential building or data centre.
An implementation of either activity definition BESS4 or BESS5 has not previously been conducted at the site.
The battery was installed behind the meter and complies with the battery installation standard AS/NZS 5139, the Australian Wiring Rules (AS/NZS 3000) and any other applicable requirements.
I have provided all documentation that is required by the Standard to the Purchaser.
Installation of the battery energy storage system received all required planning and network approvals.I understand the Scheme Administrator of the Peak Demand Reduction Scheme or an auditor may request copies of any network approvals.
Where the battery is installed indoors in a Class 3 Building, a working smoke alarm that meets AS 3786 has been fitted nearby, and I have tested that the smoke alarm is functional. 
The information I have provided is complete and accurate and I am aware that there are penalties for providing false or misleading information in this form.
Clause 130 of Schedule 4A to the Electricity Supply Act 1995 imposes a maximum penalty of $11,000 for knowingly providing false or misleading information to the Scheme Administrator.
	Name
	[Installer name]
	Signature
	[Installer to sign]
	Date signed
	[Date signed by installer]

Purchaser declaration
I, [Purchaser name], hereby declare that:
An implementation of either activity definition BESS4 or BESS5 has not previously been conducted at the site.
Installation of the battery energy storage system received all required planning approvals.
I understand the Scheme Administrator of the Peak Demand Reduction Scheme or an auditor may request copies of the planning approvals.
I understand I’ll receive a completed copy of the nomination form within 7 days of the installation.
I have been provided with a copy of these contact details for the Accredited Certificate Provider I nominated as the capacity holder:

	ACP name (company)
	[Enter ACP name]
	Contact name
	[Enter contact name for ACP]
	Contact email
	[Enter contact email for ACP]
	Contact phone
	[Enter contact number for ACP]


I have been provided with a copy of the contact details below and understand the process for resolving complaints if I am not satisfied with my battery installation: 

	Name
	[Enter contact name for resolving complaints]

	Contact mail
	[Enter contact mail for resolving complaints]

	Contact email
	[Enter contact email for resolving complaints]

	Website (optional)
	[Enter website details]



Clause 130 of Schedule 4A to the Electricity Supply Act 1995 imposes a maximum penalty of $11,000 for knowingly providing false or misleading information to the Scheme Administrator.

	Signature
	[Purchaser to sign]

	Name
	[Purchaser’s name]

	Date signed
	[Date signed by Purchaser]



BESS5 – Install a new battery energy storage system (commercial and industrial businesses) 
Installer and site details
	Name
	[Installer name]
	Business name
	[Business name of installer]
	ABN
	[Installer’s ABN]
	Phone number
	[Installer’s phone number]
	Site address
	[Address of the battery installation]
	Date installation completed
	[Date that the installation is completed]
	
	

	License number
	[Installer’s license number]
	Certifications
	[Any additional certifications held by installer]

Installer declaration
I, [Installer name], hereby declare that:
I am the responsible installer who has performed the testing and commissioning of the energy storage system installed at the site above. 
The site is not a residential building or data centre.
An implementation of either activity definition BESS4 or BESS5 has not previously been conducted at the site. 
The battery energy storage system was installed by a suitably Licensed person in compliance with the relevant standards and legislation.
The information I have provided is complete and accurate and I am aware that there are penalties for providing false or misleading information in this form.
Clause 130 of Schedule 4A to the Electricity Supply Act 1995 imposes a maximum penalty of $11,000 for knowingly providing false or misleading information to the Scheme Administrator.
	Name
	[Installer name]
	Signature
	[Installer to sign]
	Date signed
	[Date signed by installer]


Purchaser declaration
I, [Purchaser name], hereby declare that:
An implementation of either activity definition BESS4 or BESS5 has not previously been conducted at the site.
Installation of the battery energy storage system received all required planning approvals.
I understand the Scheme Administrator of the Peak Demand Reduction Scheme or an auditor may request copies of the planning approvals.
I understand I’ll receive a completed copy of the nomination form within 7 days of the installation.
I have been provided with a copy of these contact details for the Accredited Certificate Provider I nominated as the capacity holder:

	ACP name (company)
	[Enter ACP name]
	Contact name
	[Enter contact name for ACP]
	Contact email
	[Enter contact email for ACP]
	Contact phone
	[Enter contact number for ACP]


I have been provided with a copy of the contact details below and understand the process for resolving complaints if I am not satisfied with my battery installation: 

	Name
	[Enter contact name for resolving complaints]

	Contact mail
	[Enter contact mail for resolving complaints]

	Contact email
	[Enter contact email for resolving complaints]

	Website (optional)
	[Enter website details]



Clause 130 of Schedule 4A to the Electricity Supply Act 1995 imposes a maximum penalty of $11,000 for knowingly providing false or misleading information to the Scheme Administrator.

	Signature
	[Purchaser to sign]

	Name
	[Purchaser’s name]

	Date signed
	[Date signed by Purchaser]
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